{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["机器设备"],"not_rendered":{"external_links":2,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"机器设备","index":0,"n_rows":311,"n_cols":7,"rows_kept":311,"merged":[[0,0,2,6],[5,6,46,6],[47,6,88,6],[89,6,129,6],[130,6,164,6],[165,6,205,6],[206,6,243,6],[244,6,282,6],[283,6,309,6]],"flags":["formulas_cached_only"]}
["厦蓉高速扩建工程拆除的废旧设施设备清单（机电设施设备）"]
[]
[]
["产权持有人：福建省龙岩高速公路有限公司"]
["序号","名称","规格型号","计量单位","数量","存放地点","备注"]
[1,"干式变压器","SCB9-250KVA/10-0.4KV","套",1,"龙岩西收费站","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[2,"抽出式低压配电柜","GCS-03E","面",1,"龙岩西收费站"]
[3,"抽出式低压配电柜","GCS(PGL-0.38-35)","面",1,"龙岩西收费站"]
[4,"抽出式低压配电柜","GCS-23X6","面",1,"龙岩西收费站"]
[5,"抽出式低压配电柜","GCS-24A","面",1,"龙岩西收费站"]
[6,"抽出式低压配电柜","GCS-23X2+11×4","面",2,"龙岩西收费站"]
[7,"抽出式低压配电柜","GCS-07A","面",1,"龙岩西收费站"]
[8,"抽出式低压配电柜","GCS-11×6","面",1,"龙岩西收费站"]
[9,"UPS不间断电源","EP20/20KVA","台",1,"建安隧道配电房"]
[10,"集中控制台","JT1010","套",1,"建安隧道配电房"]
[11,"自动柴油发电机组","SC-75kw","台",1,"龙岩西收费站"]
[12,"干式变压器","SCB9-250KVA/10-0.4KV","套",1,"龙岩西收费站"]
[13,"抽出式低压配电柜","GCS-03E","面",1,"龙岩西收费站"]
[14,"抽出式低压配电柜","GCS(PGL-0.38-35)","面",1,"龙岩西收费站"]
[15,"抽出式低压配电柜","GCS-23X6","面",1,"龙岩西收费站"]
[16,"抽出式低压配电柜","GCS-24A","面",1,"龙岩西收费站"]
[17,"抽出式低压配电柜","GCS-23X2+11×4","面",1,"龙岩西收费站"]
[18,"抽出式低压配电柜","GCS-07A","面",1,"龙岩西收费站"]
[19,"抽出式低压配电柜","GCS-11×6","面",1,"龙岩西收费站"]
[20,"UPS不间断电源","M20/20KVA","台",1,"东家畲隧道配电房"]
[21,"自动柴油发电机组","SC-50kw","台",1,"东家畲隧道配电房"]
[22,"干式变压器","SCB9-250KVA/10-0.4KV","套",1,"龙岩西收费站"]
[23,"抽出式低压配电柜","GCS-03E","面",1,"龙岩西收费站"]
[24,"抽出式低压配电柜","GCS(PGL-0.38-35)","面",1,"龙岩西收费站"]
[25,"抽出式低压配电柜","GCS-23X6","面",1,"龙岩西收费站"]
[26,"抽出式低压配电柜","GCS-24A","面",1,"龙岩西收费站"]
[27,"抽出式低压配电柜","GCS-23X2+11×4","面",1,"龙岩西收费站"]
[28,"抽出式低压配电柜","GCS-07A","面",1,"龙岩西收费站"]
[29,"抽出式低压配电柜","GCS-11×6","面",1,"龙岩西收费站"]
[30,"UPS不间断电源","M20/20KVA","台",1,"如山头隧道配电房"]
[31,"自动柴油发电机组","SC-75kw","台",1,"龙岩西收费站"]
[32,"干式变压器","SCB9-250KVA/10-0.4KV","套",1,"龙岩西收费站"]
[33,"干式变压器","SCB9-400KVA/10-0.4KV","套",1,"龙岩西收费站"]
[34,"中置式高压开关柜","KYN28-12(Z)-38","面",2,"龙岩西收费站"]
[35,"中置式高压开关柜","KYN28-12(Z)-04","面",4,"龙岩西收费站"]
[36,"抽出式低压配电柜","GCS-01E","面",2,"龙岩西收费站"]
[37,"抽出式低压配电柜","GCS-11","面",3,"龙岩西收费站"]
[38,"抽出式低压配电柜","GCS-34A","面",2,"龙岩西收费站"]
[39,"抽出式低压配电柜","GCS-01F","面",1,"龙岩西收费站"]
[40,"低压配电柜(UPS)","GCS-非标","面",null,"龙岩西收费站"]
[41,"UPS不间断电源","EP40/40KVA","台",1,"乌石山龙岩侧隧道配电房"]
[42,"照明控制台","JT9-9010","套",1,"乌石山龙岩侧隧道配电房"]
[43,"动力控制台","T9-9010","套",1,"乌石山龙岩侧隧道配电房","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[44,"直流屏","GZDW-Y","面",1,"龙岩西收费站"]
[45,"信号屏","PW10","面",1,"龙岩西收费站"]
[46,"干式变压器","SCB9-500KVA/10-0.4KV","套",2,"龙岩西收费站"]
[47,"中置式高压开关柜","KYN28-12(Z)-38","面",2,"龙岩西收费站"]
[48,"中置式高压开关柜","KYN28-12(Z)-04","面",4,"龙岩西收费站"]
[49,"抽出式低压配电柜","GCS-01E","面",2,"龙岩西收费站"]
[50,"抽出式低压配电柜","GCS-11","面",4,"龙岩西收费站"]
[51,"抽出式低压配电柜","GCS-34A","面",2,"龙岩西收费站"]
[52,"抽出式低压配电柜","GCS-01F","面",1,"龙岩西收费站"]
[53,"低压配电柜(UPS)","GCS-非标","面",1,"龙岩西收费站"]
[54,"UPS不间断电源","EP40/40KVA","台",1,"乌石山漳州侧隧道配电房"]
[55,"照明控制台","JT9-9010","套",1,"乌石山漳州侧隧道配电房"]
[56,"动力控制台","T9-9010","套",1,"乌石山漳州侧隧道配电房"]
[57,"直流屏","GZDW-Y","面",1,"龙岩西收费站"]
[58,"信号屏","PW10","面",1,"龙岩西收费站"]
[59,"干式变压器","SCB9-315KVA/10","套",1,"龙岩西收费站"]
[60,"充电机",null,"台",1,"龙岩西收费站"]
[61,"高压开关柜","AH1KYN-12Z-19","台",1,"龙岩西收费站"]
[62,"高压开关柜","AH2KYN-12Z-05","台",1,"龙岩西收费站"]
[63,"高压开关柜","AH3KYN-12Z-02","台",1,"龙岩西收费站"]
[64,"低压开关柜","AA1.GCS-11","台",1,"龙岩西收费站"]
[65,"低压开关柜","AA2.GCS-01","台",1,"龙岩西收费站"]
[66,"低压开关柜","AA3.GCS-09","台",1,"龙岩西收费站"]
[67,"低压开关柜","AA4.GCS-23","台",1,"龙岩西收费站"]
[68,"低压开关柜","AA4.GCS-23","台",1,"龙岩西收费站"]
[69,"低压开关柜","AA6.GCS-31","台",1,"龙岩西收费站"]
[70,"信号屏","PK-1","台",1,"龙岩西收费站"]
[71,"UPS不间断电源","10KVA","台",1,"龙岩西收费站"]
[72,"UPS电源电池",null,"套",1,"龙岩西收费站"]
[73,"柴油发电机组","GFZ90KW自启动组","台",1,"后祠龙岩侧隧道配电房"]
[74,"高压开关柜","AH1KYN-12Z-19","台",1,"龙岩南收费站"]
[75,"高压开关柜","AH1KYN-12Z-05","台",1,"龙岩南收费站"]
[76,"高压开关柜","AH1KYN-12Z-02","台",1,"龙岩南收费站"]
[77,"低压开关柜","AA1.GCS-11","台",1,"龙岩南收费站"]
[78,"低压开关柜","AA2.GCS-01","台",1,"龙岩南收费站"]
[79,"低压开关柜","AA3.GCS-09","台",1,"龙岩南收费站"]
[80,"低压开关柜","AA4.GCS-23","台",1,"龙岩南收费站"]
[81,"低压开关柜","AA4.GCS-11","台",1,"龙岩南收费站"]
[82,"低压开关柜","AA6.GCS-31","台",1,"龙岩南收费站"]
[83,"UPS不间断电源","10KVA","台",1,"龙岩南收费站"]
[84,"UPS电源电池",null,"套",1,"龙岩南收费站"]
[85,"柴油发电机组","GFZ90KW自启动组","台",1,"龙岩南收费站","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[86,"柴油发电机组","50GFZ","台",1,"龙岩北收费站"]
[87,"射流风机","SDS-6.3","台",2,"龙岩西收费站"]
[88,"射流风机","SDS-6.3","台",2,"龙岩西收费站"]
[89,"射流风机","SDS-6.3","台",2,"龙岩西收费站"]
[90,"射流风机","SDS-6.3","台",2,"龙岩西收费站"]
[91,"射流风机","SDS-6.3","台",2,"龙岩西收费站"]
[92,"射流风机","SDS-6.3","台",2,"龙岩西收费站"]
[93,"射流风机","SDS-6.3","台",2,"龙岩西收费站"]
[94,"隧道灯","400W","套",124,"龙岩西收费站"]
[95,"隧道灯","400W","套",120,"龙岩西收费站"]
[96,"隧道灯","250W","套",60,"龙岩西收费站"]
[97,"隧道灯","250W","套",60,"龙岩西收费站"]
[98,"隧道灯","150W","套",278,"龙岩西收费站"]
[99,"隧道灯","150W","套",218,"龙岩西收费站"]
[100,"隧道灯","70W","套",6,"龙岩西收费站"]
[101,"隧道灯","70W","套",5,"龙岩西收费站"]
[102,"射流风机","15KW","组",1,"龙岩西收费站"]
[103,"射流风机","15KW","组",1,"龙岩西收费站"]
[104,"射流风机","15KW","组",1,"龙岩西收费站"]
[105,"射流风机","15KW","组",1,"龙岩西收费站"]
[106,"射流风机","15KW","组",1,"龙岩西收费站"]
[107,"射流风机","15KW","组",1,"龙岩西收费站"]
[108,"动力配电箱(含照明及风机控制）",null,"套",4,"龙岩西收费站"]
[109,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[110,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[111,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[112,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[113,"隧道灯","400W","套",136,"龙岩西收费站"]
[114,"隧道灯","250W","套",80,"龙岩西收费站"]
[115,"隧道灯","150W","套",104,"龙岩西收费站"]
[116,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[117,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[118,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[119,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[120,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[121,"隧道洞内照明配电箱",null,"台",1,"龙岩西收费站"]
[122,"隧道灯","400W","套",120,"龙岩西收费站"]
[123,"隧道灯","400W","套",120,"龙岩西收费站"]
[124,"隧道灯","250W","套",60,"龙岩西收费站"]
[125,"隧道灯","250W","套",60,"龙岩西收费站"]
[126,"隧道灯","150W","套",114,"龙岩西收费站","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[127,"隧道灯","150W","套",118,"龙岩西收费站"]
[128,"隧道洞内照明配电箱","SDX-T(改)三回路","台",30,"龙岩西收费站"]
[129,"隧道洞内照明配电箱","SDX-T(改)五回路","台",4,"龙岩西收费站"]
[130,"隧道洞内照明配电箱","SDX-T(改)六回路","台",2,"龙岩西收费站"]
[131,"隧道灯","400W","套",72,"龙岩西收费站"]
[132,"隧道灯","250W","套",116,"龙岩西收费站"]
[133,"隧道灯","150W","套",50,"龙岩西收费站"]
[134,"隧道灯","100W","套",120,"龙岩西收费站"]
[135,"隧道灯","70W","套",2050,"龙岩西收费站"]
[136,"射流风机","15KW","组",16,"龙岩西收费站"]
[137,"射流风机","15KW","组",34,"龙岩西收费站"]
[138,"动力配电箱",null,"套",25,"龙岩西收费站"]
[139,"维修配电箱",null,"套",42,"龙岩西收费站"]
[140,"隧道内综合盘(含手动报警按钮,探测器,指示灯等)",null,"个",86,"龙岩西收费站"]
[141,"火灾报警控制器（B1020)",null,"台",1,"龙岩西收费站"]
[142,"转换器I型",null,"个",14,"龙岩西收费站"]
[143,"二车道车辆检测器(含环形线圈,机箱,检测卡等)",null,"套",9,"龙岩西收费站"]
[144,"显示板",null,"套",2,"龙岩西收费站"]
[145,"设备立柱",null,"套",2,"龙岩西收费站"]
[146,"显示板",null,"套",1,"龙岩西收费站"]
[147,"龙门架",null,"套",1,"龙岩西收费站"]
[148,"车道指示标志（每套两块，每块为双面式)",null,"套",24,"龙岩西收费站"]
[149,"车行横洞指示标志",null,"套",8,"龙岩西收费站"]
[150,"人行横洞指示标志",null,"套",16,"龙岩西收费站"]
[151,"安装支架",null,"套",24,"龙岩西收费站"]
[152,"室外型彩色遥控摄像机（含机箱、立柱及避雷)",null,"台",2,"龙岩西收费站"]
[153,"单模单路视频加1路反向数据复用光端机",null,"对",1,"龙岩西收费站"]
[154,"多模单路视频加1路反向数据复用光端机",null,"对",1,"龙岩西收费站"]
[155,"本地控制器(乌石山隧道)",null,"套",2,"1套位于乌石山隧道配电房内，1套位于建安隧道隧道配电房内"]
[156,"隧道内综合盘(含手动报警按钮,探测器,指示灯等)",null,"个",14,"龙岩西收费站"]
[157,"火灾报警控制器（B1020)",null,"台",1,"建安隧道隧道配电房内"]
[158,"二车道车辆检测器(含环形线圈,机箱,检测卡等)",null,"套",1,"龙岩西收费站"]
[159,"车道指示标志（每套两块，每块为双面式)",null,"套",4,"龙岩西收费站"]
[160,"车行横洞指示标志",null,"套",1,"龙岩西收费站"]
[161,"安装支架",null,"套",1,"龙岩西收费站","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[162,"室外型彩色遥控摄像机（含机箱、立柱及避雷)",null,"台",8,"龙岩西收费站"]
[163,"单模单路视频加1路反向数据复用光端机",null,"对",4,"龙岩西收费站"]
[164,"单向票亭",null,"个",2,"适中收费站"]
[165,"双向票亭",null,"个",1,"适中收费站"]
[166,"单向票亭",null,"个",1,"适中收费站"]
[167,"100W柴油发电机组","M-C275，200KW","组",1,"龙岩西收费站"]
[168,"高压钠灯","TL2-400L NG250W","套",203,"龙岩西收费站"]
[169,"高压钠灯","TL2-150L NG150W","套",94,"龙岩西收费站"]
[170,"高压钠灯","TL2-150L NG100W","套",831,"龙岩西收费站"]
[171,"应急灯","TL7-100E","套",127,"龙岩西收费站"]
[172,"高压钠灯","TL2-400L NG250W","套",215,"龙岩西收费站"]
[173,"高压钠灯","TL2-150L NG150W","套",102,"龙岩西收费站"]
[174,"高压钠灯","TL2-150L NG100W","套",185,"龙岩西收费站"]
[175,"应急灯","TL7-100E","套",23,"龙岩西收费站"]
[176,"高压钠灯","TL2-400L NG250W","套",217,"龙岩西收费站"]
[177,"高压钠灯","TL2-150L NG150W","套",90,"龙岩西收费站"]
[178,"高压钠灯","TL2-150L NG100W","套",310,"龙岩西收费站"]
[179,"应急灯","TL7-100E","套",26,"龙岩西收费站"]
[180,"高压钠灯","TL2-400L NG250W","套",96,"龙岩西收费站"]
[181,"高压钠灯","TL2-150L NG150W","套",46,"龙岩西收费站"]
[182,"高压钠灯","TL2-150L NG100W","套",373,"龙岩西收费站"]
[183,"应急灯","TL7-100E","套",54,"龙岩西收费站"]
[184,"高压钠灯","TL2-400L NG250W","套",218,"龙岩西收费站"]
[185,"高压钠灯","TL2-150L NG150W","套",91,"龙岩西收费站"]
[186,"高压钠灯","TL2-150L NG100W","套",295,"龙岩西收费站"]
[187,"应急灯","TL7-100E","套",28,"龙岩西收费站"]
[188,"配电柜照明配电箱","IDCS2000","台",2,"龙岩西收费站"]
[189,"配电柜照明配电箱","IDCS2000","台",6,"龙岩西收费站"]
[190,"配电柜照明配电箱","IDCS2000","台",6,"龙岩西收费站"]
[191,"配电柜照明配电箱","IDCS2000","台",2,"龙岩西收费站"]
[192,"配电柜照明配电箱","IDCS2000","台",6,"龙岩西收费站"]
[193,"以太网交换机光收发器","OB9961D","对",2,"龙岩西收费站"]
[194,"机房控制工作站","IPC-610MB","台",1,"龙岩西收费站"]
[195,"彩色半球摄像机","SCC-C9302P","套",1,"龙岩西收费站"]
[196,"彩色遥控摄像机","SD533","套",1,"龙岩西收费站"]
[197,"固定摄像机","SCC-B2391P","台",15,"龙岩西收费站"]
[198,"固定摄像机","SCC-B2391P","台",15,"龙岩西收费站"]
[199,"综合光端机","OB9233DTR(1V↑2D↑↓10M/100M)","对",1,"龙岩西收费站"]
[200,"视频节点光端机(远端)","OB9233DTR(3V↑)","对",10,"龙岩西收费站"]
[201,"车辆检测器","Vdi-4P","套",4,"龙岩西收费站"]
[202,"隧道内可变信息标志","C-0630-KXB","套",2,"龙岩西收费站","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[203,"车道指示标志","C-0720-MSL","套",8,"龙岩西收费站"]
[204,"安装支架",null,"套",8,"龙岩西收费站"]
[205,"电源箱","TYBZ-50","台",3,"龙岩西收费站"]
[206,"火灾报警综合盘（火焰探测器+手报按钮）","RDCZ002-D","套",69,"龙岩西收费站"]
[207,"入侵报警主机","VISTA—l 20/250","套",1,"龙岩西收费站"]
[208,"红外报警探测器","DT7235","个",1,"龙岩西收费站"]
[209,"透过率检测器","VICOTE C414","套",2,"龙岩西收费站"]
[210,"本地控制器","CUP226","套",14,"龙岩西收费站"]
[211,"数字量输入模块","EM221","套",4,"龙岩西收费站"]
[212,"数字量输出模块","EM222","套",5,"龙岩西收费站"]
[213,"模拟量输入单元","EM231","套",2,"龙岩西收费站"]
[214,"串行通信模块","CUP226自带","套",14,"龙岩西收费站"]
[215,"以太网接口模块","CP243-1","套",14,"龙岩西收费站"]
[216,"隧道内机箱","定制","个",14,"龙岩西收费站"]
[217,"工业以太网交换机（4光+2电）","OB507-4","套",1,"龙岩西收费站"]
[218,"工业以太网交换机（2光+1电）","OB503","套",14,"龙岩西收费站"]
[219,"监控以太网交换机（16口）","LINKSYS SR316","台",1,"龙岩西收费站"]
[220,"配电箱（室外）",null,"套",1,"龙岩西收费站"]
[221,"彩色遥控摄像机","SD533","套",2,"龙岩西收费站"]
[222,"综合光端机","OB9233DTR(1V↑2D↑↓10M/100M)","对",2,"龙岩西收费站"]
[223,"本地控制器","CUP226","个",4,"龙岩西收费站"]
[224,"串行通信模块","CUP226自带","套",4,"龙岩西收费站"]
[225,"以太网接口模块","CP243-1","套",4,"龙岩西收费站"]
[226,"隧道内机箱","定制","个",4,"龙岩西收费站"]
[227,"工业以太网交换机（2光+1电）","OB503","套",4,"龙岩西收费站"]
[228,"彩色遥控摄像机","SD533","套",1,"龙岩西收费站"]
[229,"综合光端机","OB9233DTR(1V↑2D↑↓10M/100M)","对",1,"龙岩西收费站"]
[230,"本地控制器","CUP226","个",4,"龙岩西收费站"]
[231,"串行通信模块","CUP226自带","套",4,"龙岩西收费站"]
[232,"以太网接口模块","CP243-1","套",4,"龙岩西收费站"]
[233,"隧道内机箱","定制","个",4,"龙岩西收费站"]
[234,"工业以太网交换机（2光+1电）","OB503","套",4,"龙岩西收费站"]
[235,"机房控制工作站","IPC-610MB","台",1,"龙岩西收费站"]
[236,"彩色半球摄像机","SCC-C9302P","套",1,"龙岩西收费站"]
[237,"彩色遥控摄像机","SD533","套",1,"龙岩西收费站"]
[238,"固定摄像机","SCC-B2391P","台",16,"龙岩西收费站"]
[239,"固定摄像机","SCC-B2391P","台",16,"龙岩西收费站"]
[240,"综合光端机","OB9233DTR(1V↑2D↑↓10M/100M)","对",1,"龙岩西收费站","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[241,"视频节点光端机(远端)","OB9233DTR(3V↑)","对",12,"龙岩西收费站"]
[242,"车辆检测器","Vdi-4P","套",4,"龙岩西收费站"]
[243,"隧道内可变信息标志","C-0630-KXB","套",2,"龙岩西收费站"]
[244,"车道指示标志","C-0720-MSL","套",10,"龙岩西收费站"]
[245,"安装支架",null,"套",10,"龙岩西收费站"]
[246,"电源箱","TYBZ-50","台",4,"龙岩西收费站"]
[247,"避雷器箱","配套产品","个",1,"龙岩西收费站"]
[248,"火灾报警综合盘（火焰探测器）","RDCZ002-D","套",92,"龙岩西收费站"]
[249,"透过率检测器","VICOTE C414","套",2,"龙岩西收费站"]
[250,"本地控制器","CUP226","个",16,"龙岩西收费站"]
[251,"数字量输入模块","EM221","套",6,"龙岩西收费站"]
[252,"数字量输出模块","EM222","套",8,"龙岩西收费站"]
[253,"模拟量输入单元","EM231","套",2,"龙岩西收费站"]
[254,"串行通信模块","CUP226自带","套",16,"龙岩西收费站"]
[255,"以太网接口模块","CP243-1","套",16,"龙岩西收费站"]
[256,"隧道内机箱","定制","个",16,"龙岩西收费站"]
[257,"工业以太网交换机（4光+2电）","OB507-4","套",1,"龙岩西收费站"]
[258,"工业以太网交换机（2光+1电）","OB503","套",16,"龙岩西收费站"]
[259,"监控以太网交换机（16口）","LINKSYS SR316","台",1,"龙岩西收费站"]
[260,"彩色遥控摄像机","SD533","套",2,"龙岩西收费站"]
[261,"本地控制器","CUP226","个",4,"龙岩西收费站"]
[262,"串行通信模块","CUP226自带","套",4,"龙岩西收费站"]
[263,"以太网接口模块","CP243-1","套",4,"龙岩西收费站"]
[264,"隧道内机箱","定制","个",4,"龙岩西收费站"]
[265,"工业以太网交换机（2光+1电）","OB503","套",4,"龙岩西收费站"]
[266,"彩色遥控摄像机","SD533","套",1,"龙岩西收费站"]
[267,"彩色遥控摄像机","SD533","套",1,"龙岩西收费站"]
[268,"室外型遥控摄像机（包括立柱、基础、接地等）","SD533","套",2,"龙岩西收费站"]
[269,"收费亭摄像机","TK-C205EC","套",6,"龙岩西收费站票亭内"]
[270,"拾音器","YA403","个",7,"龙岩西收费站票亭内"]
[271,"安全报警踏板/按钮","定制","个",6,"龙岩西收费站票亭内"]
[272,"广场配电箱","定制","个",1,"龙岩西收费站票亭内"]
[273,"低压配电箱","XXM","套",1,"龙岩西收费站票亭内"]
[274,"车道配电盘","定制","个",6,"龙岩西收费站票亭内"]
[275,"应急照明灯",null,"台",4,"龙岩西收费站票亭内"]
[276,"光中继器","ASI-V/ZJ","台",1,"龙岩西收费站"]
[277,"紧急电话通话柱","ASI-V/F（S）","部",10,"龙岩西收费站"]
[278,"紧急电话通话柱","ASI-V/F（S）","部",10,"龙岩西收费站"]
[279,"紧急电话通话柱","ASI-V / FA","部",2,"龙岩西收费站","实物交付的数量、具体资产完好情况、缺损情况和质量以现场看样实物为准"]
[280,"紧急电话通话柱","ASI-V / FA","部",2,"龙岩西收费站"]
[281,"紧急电话通话柱","定制","个",2,"龙岩西收费站"]
[282,"紧急电话通话柱","定制","个",2,"龙岩西收费站"]
[283,"60W功率放大器","ASI-SK(II)","个",2,"龙岩西收费站"]
[284,"60W功率放大器","ASI-SK(II)","个",2,"龙岩西收费站"]
[285,"60W功率放大器","ASI-SK(II)","个",10,"龙岩西收费站"]
[286,"60W功率放大器","ASI-SK(II)","个",10,"龙岩西收费站"]
[287,"30W强指向性扬声器","ASI-SK/30W","个",2,"龙岩西收费站"]
[288,"30W强指向性扬声器","ASI-SK/30W","个",2,"龙岩西收费站"]
[289,"30W强指向性扬声器","ASI-SK/30W","个",20,"龙岩西收费站"]
[290,"30W强指向性扬声器","ASI-SK/30W","个",20,"龙岩西收费站"]
[291,"光中继器","ASI-V/ZJ","台",1,"龙岩西收费站"]
[292,"紧急电话通话柱","ASI-V/F（S）","部",11,"龙岩西收费站"]
[293,"紧急电话通话柱","ASI-V/F（S）","部",11,"龙岩西收费站"]
[294,"紧急电话通话柱","ASI-V / FA","部",2,"龙岩西收费站"]
[295,"紧急电话通话柱","ASI-V / FA","部",2,"龙岩西收费站"]
[296,"紧急电话通话柱","定制","个",2,"龙岩西收费站"]
[297,"紧急电话通话柱","定制","个",2,"龙岩西收费站"]
[298,"60W功率放大器","ASI-SK(II)","个",2,"龙岩西收费站"]
[299,"60W功率放大器","ASI-SK(II)","个",2,"龙岩西收费站"]
[300,"60W功率放大器","ASI-SK(II)","个",11,"龙岩西收费站"]
[301,"60W功率放大器","ASI-SK(II)","个",11,"龙岩西收费站"]
[302,"30W强指向性扬声器","ASI-SK/30W","个",2,"龙岩西收费站"]
[303,"30W强指向性扬声器","ASI-SK/30W","个",2,"龙岩西收费站"]
[304,"30W强指向性扬声器","ASI-SK/30W","个",22,"龙岩西收费站"]
[305,"30W强指向性扬声器","ASI-SK/30W","个",22,"龙岩西收费站"]
[null,"部门：",null,"审核："]