{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet3","index":0,"n_rows":455,"n_cols":5,"rows_kept":455,"merged":[[1,0,1,4],[454,0,455,4]]}
["附件"]
["废旧物资明细表"]
["序号","名称","规格型号","单位","数量"]
[1,"密封油再循环泵","HSNH280-43NZ","台",2]
[2,"EH油滤油装置","FFS8370R3CH88","台",1]
[3,"板框式滤油机","LY-30","台",1]
[4,"滤油车","FLUC-25","台",1]
[5,"柴发启动马达",null,"台",2]
[6,"保护信息子站","RCS-9798A","台",1]
[7,"直流110V整流模块","DF0237B-110/40F","台",2]
[8,"6kV综保装置CPU板",null,"块",11]
[9,"操纵联动台","QT1-400/80-30T","个",4]
[10,"四索双颚瓣抓斗","VSG42.0-0.95-26000","个",1]
[11,"PLC变频控制柜（不含变频器、PLC）",null,"个",6]
[12,"起升限位器","QGX-B","个",4]
[13,"疏水阀门","中压DN40","个",22]
[14,"疏水阀门","中压DN32","个",17]
[15,"疏水阀门","中压DN25","个",6]
[16,"疏水阀门","低压DN20","个",1]
[17,"疏水阀门","中压DN50","个",1]
[18,"旧消防水管","DN200","米",500]
[19,"旧生活水管","DN200","米",600]
[20,"旧消防水管","DN65","米",100]
[21,"旧消防箱","800*650*240mm","个",16]
[22,"原#2机6KV配电室#2空调","KF-120LW","台",1]
[23,"原脱硫UPS室空调","KF-120LW","台",1]
[24,"原脱硫DCS室#2空调","KF-120LW","台",1]
[25,"原脱硫PC室#1空调","KF-120LW","台",1]
[26,"原#2炉脱硝CEMS小间空调","KF-72LW","台",1]
[27,"办公椅","网椅","把",1]
[28,"办公椅","转椅","把",3]
[29,"理宝龙两轮电动自行车",null,"辆",1]
[30,"沙发","3+1+1","把",3]
[31,"茶台",1,"个",1]
[32,"长条椅（不锈钢）",3,"把",2]
[33,"化学主值台转椅",null,"把",1]
[34,"集控主值台转椅",null,"把",3]
[35,"集控主值会议室椅子",null,"把",1]
[36,"起升制动器","YW2-500/180","个",4]
[37,"原#1机组脱硫原烟气、净烟气CEMS小间空调","KF-26GW","台",2]
[38,"原#2机组脱硫原烟气、净烟气CEMS小间空调","KF-26GW","台",2]
[39,"原码头400V配电间空调","KFR-35W","台",1]
[40,"原码头USP室配电间空调","KF-35W","台",2]
[41,"原码头6KV配电室空调","KF-35W","台",4]
[42,"原#2机6KV配电室3号空调","KF-120LW","台",1]
[43,"原灰库值班室空调","KFR-35GW","台",1]
[44,"原化验楼环保室、仪器分析室空调 ","KFR-35W","台",2]
[45,"羽燕饮水机","Pw-lw","台",1]
[46,"夏普空气消毒机","KV-W380SW-W","台",2]
[47,"惠普打印机","HP M701n","台",1]
[48,"对讲机","HQT","部",12]
[49,"高频对讲机","KENWOOD","部",2]
[50,"多种气体检测仪","天鹰","部",2]
[51,"高压验电器","GD-10KV","个",3]
[52,"测氧仪","M40","个",1]
[53,"400V接地线","400V接地线","组",1]
[54,"绝缘电阻表","KYORITSU","台",1]
[55,"6KV开关摇把","ABB","个",1]
[56,"绝缘手套","橡胶","双",1]
[57,"ECI光端机机屏及其接线","XDM100","台",1]
[58,"电磁阀","DHI-0751/2/WP 24","个",8]
[59,"比例阀","RZMO-P3-PS-010","个",8]
[60,"比例阀底座","AGMZO-TERS","个",8]
[61,"电磁阀","4WE 10 D33/CW230","个",1]
[62,"电磁线圈","4WE 10 D33/CW230","个",4]
[63,"数据采集前端","DDCS-3B","个",1]
[64,"火检控制头","401111-21","个",3]
[65,"称重传感器","L0058208","支",2]
[66,"变送器","EJA110A-ELS4A-22DC","台",2]
[67,"定位器","STI","台",2]
[68,"电动执行器","2SA3012-1FA00-9FB2-ZLK3+J2A+Y01","台",2]
[69,"磁翻板液位计","UHZ-50/UB","支",4]
[70,"AUMA控制头","AM01.1","个",1]
[71,"隔离器","Syskeeper-2000","台",6]
[72,"员工屏风办公桌","1300*600*H1200","张",4]
[73,"电脑椅","常规款\\网布","张",4]
[74,"电动车","绿源","辆",1]
[75,"矮柜","800*1500*400mm（高*长*宽","张",2]
[76,"条形桌","长1800mm宽400mm高750mm","张",3]
[77,"电动伸缩门","QWJHCL-4  长8.5m×高1.6m","套",1]
[78,"燃料运行电瓶车","电瓶车","部",1]
[79,"智能马弗炉","WS-G150","台",2]
[80,"调压器","5KVA","台",1]
[81,"红外分光油分析仪","ET-1200","台",1]
[82,"储水式电热水器","F06-12A(S) 6L","台",1]
[83,"生化培养箱","SXP-250","台",1]
[84,"电子天平"," PTL-6kg","台",1]
[85,"全密封二分器","≤3mm","台",1]
[86,"全密封二分器","≤6mm","台",1]
[87,"起升制动器","YW2-500/90","个",2]
[88,"保温台","不锈钢","台",4]
[89,"粘板台架子",null,"台",4]
[90,"洗菜池",null,"台",6]
[91,"柜子",null,"张",1]
[92,"灶台",null,"台",3]
[93,"灶台",null,"台",5]
[94,"电磁炉架子",null,"台",1]
[95,"洗手池",null,"台",1]
[96,"剩饭菜回收架子",null,"台",1]
[97,"电视",null,"台",17]
[98,"洗衣机",null,"台",1]
[99,"随手泡",null,"台",15]
[100,"立式饮水机",null,"台",1]
[101,"立式空调",null,"台",6]
[102,"挂式空调",null,"台",10]
[103,"热水器",null,"台",10]
[104,"煎饼锅台",null,"台",1]
[105,"防火门",null,"台",2]
[106,"冰箱",null,"台",1]
[107,"破旧椅子",null,"台",30]
[108,"单座沙发",null,"台",2]
[109,"办公桌",null,"台",1]
[110,"屏风办公桌",null,"台",1]
[111,"餐桌四座",null,"台",2]
[112,"三座靠背椅",null,"台",1]
[113,"会议桌",null,"台",2]
[114,"C4A\\B导料槽二套32米，","带宽B=1800  2m/段  总长16m  钢板厚度10mm","套",2]
[115,"C2B导料槽一套8米","带宽B=1800  2m/段  总长10m  钢板厚度10mm","套",1]
[116,"槽型托辊","159*670*710-307  带卡槽 卡槽: 27mm，提供检测报告、合格证书","根",500]
[117,"斗提机外壳","TD160  机壳厚度≥6mm","套",2]
[118,"鼓型上调心托辊","159*660*700-307 卡槽:22m。提供检测报告、合格证书。","根",40]
[119,"上调心托辊支架","YGX1800-A  卡槽22mm，银灰色，热镀锌，配托辊，轴承：进口skf","个",30]
[120,"下调心托辊支架","YGX1800-A  卡槽22mm，银灰色，热镀锌，配托辊，轴承：","台",30]
[121,"镀锌管","φ273*5,  一根6米","米",330]
[122,"电动喷油润滑系统","CSR1901G.09-10PY","套",2]
[123,"加药罐","型号：GNYX-1.0 有效容积：1.0m³ 外形尺寸：Φ1012×1250","个",4]
[124,"槽钢","18a# 6米/根 热镀锌","Kg",4140]
[125,"工字钢","#16工字钢，规格：160*88*6mm，材质：316L，20.513kg/m，","Kg",9844.8]
[126,"洗轮机","THM-100T，6000*4000*1200MM，车辆自行。压力3-4KG,380V,50HZ,15KW,循环用水，启动方式：机械感应","套",1]
[127,"#3卸船机防风系缆","图号：HX615.10.4，匹配杭州华新1500t/h卸船机","个",8]
[128,"#3卸船机防爬器","电力液压推动器\\0.37kW\\SPPT防爬器\\FPII-710\\国产","个",8]
[129,"角钢","L100*100*10  材质Q235B (15.12kg/m)","千克",3175.2]
[130,"C5A/B皮带通行桥",null,"套",6]
[131,"槽钢","#12  材质304   12kg/m","千克",2520]
[132,"角钢","50*50*5；材质：304","米",250]
[133,"C7配重导杆","DG-1200  Ф135×5×6600mm  ","根",4]
[134,"双法兰方形带衬板落煤管",null,"个",2]
[135,"滚轴筛耐磨侧板","XGS--NMB","套",1]
[136,"滚轴筛清扫装置总成","XGS18--QS-01 材质NM400","套",1]
[137,"阻燃钢丝网防撕裂输送带","EP300 1800*5/6+3","米",1000]
[138,"防溢裙板",null,"米",1000]
[139,"#1、2卸船机前接料板、后挡风板钢丝绳及滑轮组","前接料板滑轮 图号：HX615.11.2-4 材质：Q235-A","套",2]
[140,"#1卸船机夹轨器","XJYZ-250 ","台",4]
[141,"#1/2聚氨酯缓冲器","JHQ-C-21   D=315mm  H=400mm  缓冲行程300mm 缓冲力675KN","个",4]
[142,"#1、2卸船机料斗出料口调节门油站","YAX615-8","套",2]
[143,"#1卸船机防爬器","FPII-710FPⅡ-830","个",5]
[144,"#1卸船机夹轮器","YLZ63-200","个",8]
[145,"码头海侧护舷","SUC1450H 二鼓一板 标准反力型","套",7]
[146,"#3卸船机托绳小车","图号：GSU0902.19","套",1]
[147,"C1B皮带机就地控制箱","350*400*200mm（长*宽*厚）","个",2]
[148,"C1A/B皮带转接箱","1000*600*400","个",15]
[149,"C2A/B皮带转接箱","BC-AGP-354520-3545S","个",43]
[150,"活化给料机控制箱","SSHS-01,尺寸：600*450*230","个",4]
[151,"活化给料机变频柜","SSHS-02,尺寸：550*920*30","个",4]
[152,"称重转感器","QCX-3B 80T","个",2]
[153,"称重转感器","QCX-3B 30T","个",2]
[154,"废旧钢板","10mm、20mm","Kg",200]
[155,"废旧槽钢","#12","Kg",200]
[156,"废旧线缆",null,"m",300]
[157,"滑线支架",null,"个",6]
[158,"定冷水泵泵轴","泵型号：DFB100-65-260","根",1]
[159,"轴承端盖","水泵型号：DFB100-65-260","个",1]
[160,"氢气再生调节阀","MKG50 AA011","台",1]
[161,"旋转滤网大链轮","XKC-3500型","个",1]
[162,"碳钢管","￠325*7 (55.46kg/m)","Kg",2000]
[163,"碳钢管","￠219×4.5 （24.05kg/m）","Kg",600]
[164,"开式水滤水器",null,"台",1]
[165,"液控蝶阀油站高压油管","Q/PK02 4D-32-35MPa","根",4]
[166,"液控蝶阀油站高压油管","Q/PK02 4D-22-40MPa","根",4]
[167,"循环水泵轴承","AR轴承（轴套+上、中、下导轴承）","套",1]
[168,"机械密封","SAP1/158-ET1","套",6]
[169,"机械密封","021-SQN300-670-00","套",3]
[170,"轴承","7319BECBM","套",6]
[171,"轴承","NU319ECM","套",3]
[172,"中低连通管","D600P-296100A","件",1]
[173,"循环水泵对轮","88LKXA-19-0013","对",1]
[174,"胶球系统装球室","ZQS-426  316L","台",4]
[175,"分汽缸",null,"台",1]
[176,"二次滤网钢刷","HEAF-600-XFECLW-1-10(A/B)，316L","根",4]
[177,"DN800弯头","Φ820*10","件",2]
[178,"异径三通","Φ820*10*325*8","件",2]
[179,"主机ups控制柜","SDP31080_220/220","套",3]
[180,"脱硫ups控制柜","MP31040_192/220","套",1]
[181,"1A循环水泵电机背包","YKKL2800-16/1850-1WTH","套",2]
[182,"2A循环水泵电机风罩","YKKL2800-16/1850-1WTH","套",1]
[183,"轴承","NU238ECM","套",4]
[184,"轴承",6238,"套",2]
[185,"轴承","6236/C3","套",2]
[186,"轴承","6330/C3","套",2]
[187,"轴承","7330BCBM","套",2]
[188,"轴承","NU326/C3","套",8]
[189,"轴承",6236,"套",4]
[190,"轴承","NU224ECP","套",4]
[191,"轴承",6224,"套",4]
[192,"轴承","NU222ECP","套",4]
[193,"轴承","NU1060MA","套",1]
[194,"380V综保","SPAC-202L","台",38]
[195,"380V综保","SPAC-203M","台",44]
[196,"380V综保","ST-500","台",3]
[197,"功率变送器","FPW201 ","台",3]
[198,"6kV综保","410EX","台",1]
[199,"6kV综保","430EX","台",3]
[200,"低省升压泵电机变频器","ACS510-01-195A-4 I","台",1]
[201,"柴发控制器","卡特 EMCP 3.3","台",1]
[202,"可控硅电压调整器","ZK-3","台",1]
[203,"阴极振打器","TB40013.1","个",12]
[204,"轴承","6232M/C3","个",4]
[205,"轴承","NU224ECM/P63","个",2]
[206,"轴承","NU224ECM","个",2]
[207,"轴承","NU222ECP","个",2]
[208,"轴承","6234M/C3","个",1]
[209,"轴承",6224,"个",2]
[210,"轴承",6312,"个",6]
[211,"轴承","6309/2Z","个",10]
[212,"轴承","62082RS1","个",4]
[213,"轴承","NU319","个",2]
[214,"轴承","6319/C3","个",2]
[215,"轴承",6206,"个",4]
[216,"轴承",6209,"个",2]
[217,"冲洗水泵电机","DFW150-250","个",1]
[218,"中间继电器","JZS-7G-42X","个",5]
[219,"脱水皮带机变频器","ATV31HD1N4","个",1]
[220,"380V综保","PMAC801","个",30]
[221,"就地控制柜","凝聚剂助凝剂加药装置控制柜","套",1]
[222,"空预器就地控制柜","空预器就地控制柜","套",2]
[223,"主变高压侧垂直段架空线","主变高压侧垂直段架空线","根",3]
[224,"励磁变冷却风机"," GFSD650-200 ","台",2]
[225,"检修电源箱","100A","套",1]
[226,"电机轴承","6319/C3","套",6]
[227,"电机轴承",6312,"套",2]
[228,"电机轴承","6208/C3","套",4]
[229,"电机轴承","6209-2Z/C3","套",8]
[230,"电机轴承","6309/2Z","套",2]
[231,"电机轴承",6317,"套",6]
[232,"电机轴承","6209-2Z/C3","套",2]
[233,"变频器","施耐德ATV61HD75N4Z","台",1]
[234,"接触器","施耐德 LC1 D170 线圈电压220V","台",6]
[235,"电机","YE3-160L-2，18.5kw","台",1]
[236,"真空泵电机","Y2-355L1-12  ","台",3]
[237,"小机排烟风机电机","YB2-802-2    ","台",4]
[238,"主油箱排烟风机电机","YB2-100L-2     ","台",2]
[239,"发电机密封油排烟风机","YB2-100L-2    ","台",2]
[240,"主密封油泵电机","YB2-132M-4  ","台",2]
[241,"密封油再循环泵电机","YB2-132S-4   ","台",1]
[242,"小机盘车电机","YB2-160M-4    ","台",4]
[243,"大机盘车电机","YB2-180L-6   ","台",2]
[244,"小机主油泵电机","YB2-200L1-2    ","台",4]
[245,"交流润滑油泵电机","YB2-250M-4     ","台",2]
[246,"交流启动油泵","YB2-225M-4    ","台",1]
[247,"密封风机电机","1LE0001-3AB6 3-3AJ4-Z ","台",2]
[248,"火检风机电机","M09F629Y898H2","台",1]
[249,"引风机轴承冷却风机电机","1TL0001-1CA13-3AA5-Z","台",1]
[250,"等离子冷却水泵电机","M2BAX 180ML A2","台",1]
[251,"给煤机清扫链电机","NP 1-200","台",1]
[252,"炉循泵低压冷却水泵电机","YX3-132S1-2","台",1]
[253,"轴加风机电机","Y2-160L-2","台",1]
[254,"凝泵坑小排污泵电机","YP2-160M2-2W","台",1]
[255,"主油箱事故油泵电机","Z2-82L3","台",1]
[256,"磨煤机液压油站外置滤油机电机","Y2JD90L-4","台",1]
[257,"磨煤机旋转分离器电机","YPT280-8-37KW","台",9]
[258,"磨煤机润滑油泵电机","YD106M-8/4","台",8]
[259,"低省升压泵电机冷却风扇","G-M2BAX 280","台",6]
[260,"电缆","3*75+1*50","米",6]
[261,"旋转分离器电机变频器","ATV71HD45N4Z ","台",1]
[262,"制氯UPS主机","UPS","台",1]
[263,"消防水管","DN100","米",380]
[264,"电磁流量计变送器","型号：8750WDMT 厂家：ROSEMOUNT","个",1]
[265,"压力变送器","型号：3051TG4A2B21AB4K5M5  厂家：ROSEMOUNT","台",1]
[266,"差压变送器","型号：3051 CD2A22A1BB4DF  型号：ROSEMOUNT","台",2]
[267,"超声波液位计","型号：FMU230E-AA32  厂家：E+H","台",2]
[268,"超声波液位计","型号：FMU30-1020/0  厂家：E+H","台",1]
[269,"UB分离器","厂家：吴致电气","个",2]
[270,"氧化锆过滤芯","型号：74422se  厂家：Ametek","根",5]
[271,"风速风力报警仪","型号：FC-2","台",1]
[272,"电磁阀","型号：CT.06032  厂家：希沃","个",1]
[273,"压力开关","型号：527054-SDKFH2 型号：SOR","个",1]
[274,"压力表","型号：0-1.6MPA 厂家：安徽春辉","个",3]
[275,"压力表","型号：0-1MPA  厂家：富阳万兴","个",7]
[276,"热电阻","型号：CHWWWROP-441/200  厂家：安徽春辉","支",2]
[277,"氨气报警探头","型号：DH100  厂家：河南凯多恩","台",1]
[278,"浓度计表头","型号：sc200  厂家：哈希","块",2]
[279,"全塑压力表","型号：0-1mpa  厂家：上海仪表","个",1]
[280,"浊度仪探头","型号：1720E  厂家：哈希","个",2]
[281,"浊度仪测量池","型号：1720E  厂家：哈希","个",2]
[282,"PH表头","型号：9135  厂家：波利美特龙","块",1]
[283,"钠表测量电极","型号：A-87.720.010  厂家：swan","支",1]
[284,"钠表参比电极","型号：210056  厂家：ORION","支",3]
[285,"纯水电极","型号：WL-J-HX-320  厂家：武汉湟河","支",3]
[286,"PH电极","型号：WL-FS-TX  厂家：武汉湟河","支",8]
[287,"PH电极","型号：08350=C=0004  厂家：波利美特龙","支",3]
[288,"PH电极","型号：TX-PHPM-NTC  厂家：贵阳学通","支",4]
[289,"PH电极","型号：08362=C=0004  厂家：波利美特龙","支",1]
[290,"超声波液位计","型号：FMU30-1020/0  厂家：E+H","台",1]
[291,"溶氧表头","型号：9180  厂家：波利美特龙","个",1]
[292,"压力开关","型号：414833-SDKFH2  型号：SOR","个",1]
[293,"远传条液位计","型号：UHZ-57/CUB 0-0.9米","支",2]
[294,"沉浸式PH测量池","型号：WLP-AADC 厂家：武汉湟河","个",1]
[295,"循环水余氯电磁阀","型号：970-210-006  厂家：ABB","个",1]
[296,"PH电极测量池","型号：wl-TLCLC-3661  厂家：武汉湟河","个",1]
[297,"硅表","型号：9210  厂家：波利美特龙","套",2]
[298,"硅表测量池","型号：09210=100=210  厂家：波利美特龙","个",1]
[299,"9182氧表氧电极","型号：09182=A=1000  厂家：波利美特龙","根",2]
[300,"氧化锆探杆","型号：WDG1210/Insitu-36，厂家：Ametek","根",6]
[301,"钠表","型号：211xp  厂家：ORION","套",1]
[302,"溶氧膜片","型号：09185=A=3500  厂家：波利美特龙","盒",2]
[303,"漏氢探头","型号：NA1000DII  厂家：日立信","个",3]
[304,"氢气报警探头","型号：DH09  厂家：河南凯多恩","台",2]
[305,"pH表头","型号：UD2182  厂家：Honeywell","块",1]
[306,"pH取样式测量池","型号：WLP-AB-1211， 厂家：武汉煌河","个",2]
[307,"钠表测量电极","型号：210045，品牌：ORION","支",2]
[308,"超声波液位计","型号：FMR231-AABQJAA2AA  厂家：E+H","台",1]
[309,"声光报警器","型号：BC110  厂家：上海五久","台",1]
[310,"浊度仪表头和探头","型号：Liquieys NCUD223  厂家：SIEMENS","套",1]
[311,"流量积算仪","型号：SWP-LK802  厂家：香港昌晖自动化","台",1]
[312,"钠表显示屏","型号：2111xp-01  厂家：ORION","个",1]
[313,"压力变送器","型号：EJA530E  厂家：横河川仪","台",1]
[314,"单回路双光控制仪","型号：XMGSD617","个",1]
[315,"电导电极","型号：8310  厂家：波利美特龙","根",1]
[316,"溶氧膜","型号：A-87-219-010  厂家：swan","个",1]
[317,"隔膜脉冲阻尼器式压力表","型号：0-2.5MPA  厂家：爱普尔","个",1]
[318,"交换机","型号：S1720-28GWR-4P","台",4]
[319,"电源模块","型号：SP-350-24","快",3]
[320,"交换机","型号：MM4-2XT/SFP（HIRSCHMANN）","套",4]
[321,"UPS装置","型号：Smart-UPS  3000UX  3000UX","台",2]
[322,"8口交换机","型号：RS20（HIRSCHMANN）","块",29]
[323,"光电收发器","LFT01-10/100-MSC2","个",36]
[324,"变送器三阀组","型号：HHS-3B","套",7]
[325,"扇热风扇","型号：125FZY2-S,220VAC,50HZ,25W","台",8]
[326,"气动执行机构","型号：QHR850/QHR1400","台",2]
[327,"反馈装置","型号：APL-210","套",13]
[328,"气源过滤器","型号：UFR/L-03","个",10]
[329,"消防栓按钮","型号：M500HC","个",186]
[330,"气源三联件","型号：QFLJWB-L15","个",7]
[331,"轴向压力表","Y-40，0-1.0MPa  YN-100 0-1.0MPa","块",9]
[332,"外六角螺纹直通快插接头","型号：PC10-02,SRK  PMF10-03 ,SRK","个",500]
[333,"气源软管","胶管外径25mm长度900mm扩口式接头M22X1.5两端直通式","条",26]
[334,"热电阻","型号：WZPK-336S,PT10,0-160℃，L=100mm  WZPK2-380A,PT100,0-200 L=100mm 探杆直径8mm","支",10]
[335,"隔膜压力表","型号：0-1MPa  Y-100","块",3]
[336,"瑞基电动阀","型号：RJ28-Z-3ph-W-4101,380VAC，厂家：瑞基","台",3]
[337,"扬修电动执行器","型号：2SA3022-1GA00-100D-ZJ3A+Y01，厂家：扬修","台",2]
[338,"Auma电动门","型号：SA 10.2-F10，厂家：Auma","台",3]
[339,"Auma电动门","型号：SA16.1-F16，厂家：Auma","台",2]
[340,"Auma电动门","型号：SA14.5-F14，厂家：Auma","台",1]
[341,"扬修电动门","型号：F-2SA3012，厂家：扬修","台",3]
[342,"扬修电动门","型号：F-2SA3022，厂家：扬修","台",3]
[343,"ABB定位器","型号：V18345-10105210001，厂家：ABB","个",2]
[344,"前置器","型号：330180-50-00  330180-90-00，厂家：bently","个",10]
[345,"电磁阀线圈","型号：110VDC30W，厂家：ASCO","个",11]
[346,"机床控制变压器","型号：JBK5-1600","个",1]
[347,"卡件","型号：FBM242，厂家：福克斯波罗","个",5]
[348,"火检探头","型号：GT090291，厂家：福尼","个",1]
[349,"温度元件","型号：WRNT02","个",3]
[350,"热膨胀监测仪","型号：DF9032，厂家：东汽","个",1]
[351,"高厂变绕组温度计","型号：BWY2-804AJ","个",1]
[352,"TSI探头及延伸电缆","型号：XAD22CY102  330104-00-02-10-02-00，厂家：bently","个",15]
[353,"料位开关","型号：437799-QADI56，厂家：E+H","个",2]
[354,"枪型摄像机","型号：DH-IPC-HFW5443K-I4，厂家：海康威视","台",2]
[355,"球形摄像机","型号：DH-SD-6C3230UE-HN，厂家：海康威视","台",6]
[356,"扬修电动执行器","型号：F-2SA3012-5FA00-1000+Y01，厂家：扬修","台",2]
[357,"SIPOS电动执行器","型号：2SA5521-5EE00-4BB3-Z，厂家：SIPOS","台",2]
[358,"扬修电动执行器","型号：F-2SA3022-1FA00-1000-ZJ3A+Y01厂家：扬修","台",2]
[359,"Auma电动执行器","型号：SA 16.1-F16，厂家：Auma","台",3]
[360,"Auma电动执行器","型号：SA 10.2-F10，厂家：Auma","台",1]
[361,"瑞基电动执行器","型号：RAIII30AF-16F，厂家：瑞基","台",1]
[362,"重庆川仪电动执行器","型号：MB390-72，厂家：重庆川仪","台",1]
[363,"瑞基电动执行器","型号：RAIII11AF10B，厂家：瑞基","台",1]
[364,"CDG气动执行器","型号：DM P2015130，厂家：CDG","台",2]
[365,"热电阻","型号：WZP12-438","根",28]
[366,"抽屉开关","型号：BFC-II型","个",7]
[367,"压力表","型号：0-2.5MPa","块",9]
[368,"压力表","型号：0-1MPa","块",3]
[369,"压力表","型号：0-0.5MPa","块",7]
[370,"压力表","型号：0-40MPa","块",4]
[371,"压力表","型号：0-25MPa","块",3]
[372,"压力表","型号：0-0.6MPa","块",5]
[373,"压力表","型号：0-10MPa","块",3]
[374,"压力表","型号：0-6MPa","块",6]
[375,"继电器","型号：MKS2XT-11，厂家：欧姆龙","盒",1000]
[376,"显示器","型号：L527TE","台",2]
[377,"输入模块","型号：FMM-1","个",845]
[378,"输出模块","型号：FCM-1","个",96]
[379,"手动火灾报警按钮","型号：M500K","个",93]
[380,"石灰石供浆回流管道","DN80","根",14]
[381,"膨胀节","DN800","个",2]
[382,"循环泵入口护板","800 ISH","个",2]
[383,"脉冲泵叶轮","LC400/540","个",1]
[384,"气化风机","SNH806","台",1]
[385,"浆液循环泵出口衬胶大小头","DN800","根",2]
[386,"工艺水泵及除雾器水泵","YE3-250M-2","台",2]
[387,"脉冲悬浮泵出口衬胶管道","DN600","根",10]
[388,"高再倒U型弯吊挂管件（内数第1根到第3根）","φ51mm*4.5mm，SA-213T91, 图号: FOO2DCH001C201中件号1~3管件在倒U型弯部分，内弯直管段留1500mm长，其它长度与内弯平齐,配套管跟管之间的连接钢板","件",3]
[389,"屏过管排固定装置(套板)","加工件，材质310S, 厚度4mm,长260mm,宽80mm，高69mm, 开槽","千克",200]
[390,"屏过管排固定装置(U型管夹)","加工件，材质3105厚度5mm.长度280mm, 高度50mm.内弯间距280mm, 高度50mm.内弯间距39mm,具体尺寸详见实图，可提供实物","千克",200]
[391,"防磨盖板","F002PNE001C201NO1/材质310S,(配10个套环)","千克",100]
[392,"未过管排固定装置(固定板)","No.1,图HS-2.CHD.007,材质310S","千克",100]
[393,"未过管排固定装置(套板)","No2, 图4S-2-CHO.006, 材质310S","千克",100]
[394,"末过直管防磨盖板","尺寸见图纸: F002PNE001C201(NO.2), L= 1400mm,材质310S，厚度2mm (配4个套环)","千克",50]
[395,"管夹(高过底部V型弯管排固定装置)","规格见图号: F002CHD020C191， 材质310S，厚度为4mm","千克",50]
[396,"无縫钢管","φ44.5*8.5,材质SA-213T91 (7.55kg/m)","千克",30]
[397,"无縫钢管","φ38mm*7.5mm，材质SA-213T91 (5.64kg/m)","千克",20]
[398,"不锈钢管","φ 38x7.5mm,材质SA-213 TP347H (5.64kg/m)","千克",20]
[399,"不锈钢管","φ44.5*8.5，材质SA-213TP347H (7.66kg/m)","千克",200]
[400,"低再入口集箱电动疏水阀","V1E9STD01BW-2","套",1]
[401,"吹灰蒸汽疏水阀","截止阀DN25","套",8]
[402,"启动疏水泵冷却水手动阀","截止阀D20","套",2]
[403,"启动疏水泵逆止阀","HH4/H-16C，DN250,PN1.6","套",1]
[404,"启动疏水泵排气阀、放空阀","截止阀DN25","套",4]
[405,"炉循泵流量计手动球阀","DN20,VLOKV1L0STD01BW-0.75","套",1]
[406,"空预器电动疏水阀","截止阀DN20","套",1]
[407,"阀门铜套","ZTB03G02DI  DN80","套",1]
[408,"炉循泵放水二次阀","V1E0STD01BW-3","套",1]
[409,"过热器减温电电手动阀","GlE0A21BW，DN108","套",1]
[410,"过热器减温水手动阀","ZTA03G01DI  DN80","套",1]
[411,"水冷壁管屏","φ38*7.3mm，15CrMo","Kg",4800]
[412,"#1炉更换的弹簧支吊架","单刚吊、单恒吊、单弹吊、立管恒吊、弹簧盖板","个",25]
[413,"等离子体燃烧器","图号：HSA01.80-00 ZRH530/10-YM鸿山","套",2]
[414,"三维自调节连管器","型号：XYLC-015G","个",30]
[415,"磨辊辊架","ZGM-113G","套",2]
[416,"磨辊辊芯","ZGM113-G，图号MG63.11.09.94","个",3]
[417,"出口翻板门","磨煤机型号：TFM-MC-Ф530","个",5]
[418,"气动插板门","QCM-DN800","套",1]
[419,"无缝钢管","Ф219×9.5mm","Kg",5890]
[420,"干渣机输送带托辊","MGP5.01.04.00","个",5]
[421,"干渣机输送带下托辊","MGP5.01.07.00","个",12]
[422,"干渣机清扫链链条","￠18*64  ","条",708]
[423,"卸船机钢丝绳","型号：Powerflex 8 x WS(26)Φ36 + IWRC 1960级别，镀锌面接触36MM右旋交互8*WS(26)","米",2140]
[424,"卸船机钢丝绳","型号：Powerflex 8 x WS(26)Φ36 + IWRC 1960级别，镀锌面接触36MM右旋交互8*WS(26)","米",2140]
[425,"H型钢","HN400*1200*20*31 长11966mm Q355 (已将其切割成两段)","根",2]
[426,"H型钢","HN800*300*14*26 长3795mm Q355","根",3]
[427,"H型钢","HW250*250*9*14 长5062MM Q355","根",3]
[428,"冷却水差压式全自动过滤机","BYZD-324B","台",1]
[429,"空气处理机组回风机风机","RDF710","台",1]
[430,"手动截止阀","J41H-16P DN150","个",2]
[431,"手动截止阀","J41W-16P DN65 PN16","个",2]
[432,"闸阀","Z41W-16P DN65","个",2]
[433,"空气处理机组风管","1000×800mm镀锌钢板","米",12.9]
[434,"自动补水阀","100X-10 DN50","个",3]
[435,"疏水阀门","低压DN65","个",4]
[436,"疏水阀门","中压DN65","个",4]
[437,"疏水阀门","中压DN65","个",2]
[438,"疏水阀门","低压DN80","个",8]
[439,"疏水阀门","低压DN40","个",22]
[440,"疏水阀门","中压DN20","个",2]
[441,"疏水阀门","中压DN20","个",1]
[442,"疏水阀门","中压DN40","个",3]
[443,"疏水阀门","中压DN50","个",1]
[444,"疏水阀门","低压DN50","个",2]
[445,"疏水阀门","DN50","个",3]
[446,"疏水阀门","DN40","个",39]
[447,"疏水阀门","DN25","个",10]
[448,"疏水器","中压","个",33]
[449,"疏水器","低压","个",1]
[450,"#2锅炉空预器冷端元件盒",null,"个",600]
[451,"汽机连通管","DN1400","根",4]
["注：上述《废旧物资明细表》仅供参考，数量均为大约数。现状是这些废旧物资堆放在一起，无法逐一分拣出来。竞买人须到标的现场看样确认转让标的，转让标的品质和状况（包括但不限于转让标的的性质、状态、数量、重量）以现场实物为准，转让方与组织方对标的品质和状况不作保证，由竞买人自行勘查评估。成交后标的以现状移交，在移交过程中，不对转让标的进行清点、测量、称重，《废旧物资明细表》仅供参考，不以《废旧物资明细表》作为核对依据进行移交。"]