{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":547,"n_cols":8,"rows_kept":547,"merged":[[0,0,0,7],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[1,6,2,6],[1,7,2,7],[546,0,546,7]]}
["附件：明细表"]
["序号","设备编号","设备名称","规格型号","安放地点","计量单位","数量","备注"]
[]
[1,null,"发电机编码器","ENCODER UNIT MOUNTED",null,"个",4]
[2,null,"风速仪","WIND SENSOR.US FT702LT",null,"个",6]
[3,null,"变压器风扇","BLOWER FOR TRAFO COOLING",null,"个",6]
[4,null,"MK7风机天窗","750*750",null,"个",9]
[5,null,"UPS","MK7",null,"台",12]
[6,null,"K204组合电器","CONT. A75-30-00 50/60HZ",null,"个",7]
[7,null,"电源(U232)","24V 10A",null,"个",10]
[8,null,"风速仪电源模块","CHARGER 24V/1AH, BCA 24-1 KIT",null,"块",1]
[9,null,"冷却水加热器","4KW LIQUID HEATER",null,"个",1]
[10,null,"转子滑环","SLP RINGS W.BUSHING MACHINED MK7风机",null,"个",3]
[11,null,"旋转接触滑环（通讯滑环）","MK7",null,"个",2]
[12,null,"K536A接触器","CONTACTOR AF260-30-1",null,"个",4]
[13,null,"LCTU","雷电传输单元",null,"套",1]
[14,null,"机舱风扇","NACELLE FAN 2MW",null,"台",1]
[15,null,"油位传感器","G1A M12叉触电继电器",null,"个",2]
[16,null,"M538电机","400/690V 50/60 HZ BLOWER",null,"台",1]
[17,null,"模块","CT3218",null,"块",13]
[18,null,"M541通风电机","MOTOR LAFERT REPL 46116 -6,8/1,35",null,"台",4]
[19,null,"刹车蓄能罐","HYDR ELM 1,4-140- 60 BAR -",null,"个",1]
[20,null,"机侧变频板","SKIIP3 2413 GB123+水冷",null,"块",1]
[21,null,"网侧变频板","SKIIP3 1813 GB123+WATER COOLIN",null,"块",8]
[22,null,"F204","RELAY TH TA25DU 18.0-25  (F204)",null,"个",4]
[23,null,"润滑泵（发电机油泵）","LUB LINCOLN QLS 401",null,"个",1]
[24,null,"水冷软管",null,null,"条",2]
[25,null,"VPC板","CT360 VPC POWER CONTROLLER",null,"块",4]
[26,null,"组合电器","MOTOR STARTER 2.2 - 3.1 REV+FEED ",null,"个",7]
[27,null,"转速传感器","ROTOR/VOG SENSOR BALUFF M30",null,"个",1]
[28,null,"高速轴传感器","ROTOR/VOG SENSOR",null,"个",1]
[29,null,"T1054电源","POWER SUPPLY ADC 54 21 R",null,"个",6]
[30,null,"电容","(V80 mk7)电容器",null,"个",3]
[31,null,"Q25断路器","CIRCUIT BREAKER S2X80-32A",null,"个",1]
[32,null,"K536C","CONT UA75-30-00-RA-80 230V 50/60Hz",null,"个",3]
[33,null,"K537","A9-30-10 230 V-",null,"个",5]
[34,null,"M547风扇","VENTILATION FAN 480V INCL NET AND FREME",null,"个",2]
[35,null,"M546通风电机","BLOWER COMP 2MW-N3G280-AK54-01",null,"个",4]
[36,null,"Q7断路器","T5H 400 TMA 320A 3P COMP",null,"个",2]
[37,null,"风机服务器UPS","EX3000",null,"个",1]
[38,null,"齿轮油离线滤芯","HDU15/25PM-230V50",null,"个",1]
[39,null,"绝缘子","35KV",null,"个",23]
[40,null,"振动传感器","VIBRATION SENSOR MOUNT VCS-MW",null,"个",1]
[41,null,"浪涌","STRIKESORB 40-480",null,"个",2]
[42,null,"比例阀","CETOP10 50/25",null,"个",1]
[43,null,"高压软管","HYDRAULIC HOSE 5/8\" L=1185",null,"根",4]
[44,null,"高压软管","HYDR HOSE 3/4 L=2980",null,"根",6]
[45,null,"高压软管","HYDR HOSE 1“ L=2960",null,"根",4]
[46,null,"高压软管","HYDR HOSE 1” PRESSURE L=1082MM",null,"根",2]
[47,null,"三相空压机","三相异步Y10CL-2",null,"台",1]
[48,null,"偏航蓄能器","1.4L",null,"个",5]
[49,null,"刹车蓄能器","3.5L",null,"个",7]
[50,null,"比例阀","KBFDG4V 5 2C5ON25 Z M1 PC7 H7 11 EN126",null,"个",4]
[51,null,"数字逆变电源装置","ZNB23D-3/220V",null,"套",1]
[52,null,"齿轮箱扭矩臂减震垫","SPRING DISC ROR TORQUE ARM",null,"块",4]
[53,null,"齿轮箱主泵电机M480","690V 3KW",null,"个",4]
[54,null,"冷却液散热器","COOLER TBI-23-2",null,"个",2]
[55,null,"变频柜冷却风扇","M2E068-BF",null,"个",33]
[56,null," 变压器风扇","NICOTRA 90W DDM1F2P",null,"个",3]
[57,null,"超声波风速仪","4.3801.01.100",null,"个",4]
[58,null,"液压站电机接触器M280","A50-30-00",null,"个",15]
[59,null,"变桨油缸半月板","G87GF",null,"个",102]
[60,null,"发电机编码器","HOG 10 DN 2048 I",null,"个",4]
[61,null,"齿轮箱机械泵","GP005116",null,"个",1]
[62,null,"齿轮箱散热风扇电机M380","3～LS90S",null,"个",2]
[63,null,"冷却液风扇电机M781","M3AA 090 L 2/4",null,"个",1]
[64,null,"开关状态控制仪","GX-007",null,"个",1]
[65,null,"刹车电源模块","3000mAh",null,"个",3]
[66,null,"CCU电源模块","FAL0081",null,"个",6]
[67,null,"集电环散热风扇电机M590","3LS71/T",null,"个",1]
[68,null,"齿轮箱电动泵冷却器",null,null,"个",6]
[69,null,"齿轮箱机械泵冷却器",null,null,"个",5]
[70,null,"发电机联轴器（Zero Max）","ZEROMAX HSS COUPLING SLEEVEFIX+LIMITER5",null,"套",4]
[71,null,"塔基UPS","PROTECT C.3000C",null,"套",1]
[72,null,"齿轮箱阀岛",null,null,"组",2]
[73,null,"电容","(V80 mk7)电容器",null,"个",8]
[74,null,"M541通风电机","MOTOR LAFERT REPL 46116 -6,8/1,35",null,"台",3]
[75,null,"转子滑环","SLP RINGS W.BUSHING MACHINED MK7风机",null,"个",6]
[76,null,"通讯滑环","MK7",null,"个",1]
[77,null,"变压器风扇","BLOWER FOR TRAFO COOLING",null,"个",2]
[78,null,"M410电机","M410",null,"个",2]
[79,null,"M546风扇","BLOWER COMP 2MW-N3G280-AK54-01",null,"个",3]
[80,null,"浪涌保护","STRIKESORB 40-480",null,"个",3]
[81,null,"风速仪","WIND SENSOR.US FT702LT",null,"个",4]
[82,null,"发电机编码器","ENCODER UNIT MOUNTED",null,"个",4]
[83,null,"齿轮箱离线泵电容","齿轮箱离线泵电容",null,"个",1]
[84,null,"M538风扇","400/690V 50/60 HZ BLOWER",null,"台",2]
[85,null,"机舱风扇","NACELLE FAN 2MW",null,"台",1]
[86,null,"M547风扇","VENTILATION FAN 480V INCL NET AND FREME",null,"个",1]
[87,null,"K500接触器","CONT AF1250-30-11-70 250VAC/DC",null,"个",1]
[88,null,"UPS","MK7",null,"台",2]
[89,null,"天窗","750*750",null,"个",6]
[90,null,"偏航组合电气","MOTOR STARTER 2.2 - 3.1 REV+FEED (F/K100C)",null,"个",7]
[91,null,"转速传感器","ROTOR/VOG SENSOR BALUFF M30",null,"个",10]
[92,null,"高压油管","HYDR HOSE 1” PRESSURE L=1082MM",null,"根",2]
[93,null,"绝缘子","35KV",null,"个",4]
[94,null,"轴承","齿轮箱高速轴轴承",null,"个",6]
[95,null,"K204接触器","CONT. A75-30-00 50/60HZ",null,"个",8]
[96,null,"T1054电源模块","POWER SUPPLY ADC 54 21 R",null,"个",3]
[97,null,"安全模块","K976E",null,"个",2]
[98,null,"网侧变频板","SKIIP3 1813 GB123+WATER COOLIN",null,"块",5]
[99,null,"VPC板","CT360 VPC POWER CONTROLLER",null,"块",6]
[100,null,"F204","RELAY TH TA25DU 18.0-25  (F204)",null,"个",4]
[101,null,"U232","24V 10A",null,"个",6]
[102,null,"CT3363","CT3363 EXTERNAL POWER SUPPLY",null,"个",2]
[103,null,"K537","A9-30-10 230 V-",null,"个",11]
[104,null,"刹车蓄能器","HYDR ELM 1,4-140- 60 BAR -",null,"个",1]
[105,null,"热保护","MOTOR PROTEC. SWITCH MO325 1,6",null,"个",6]
[106,null,"辅助接点","HKF-11/CA5-10",null,"个",8]
[107,null,"K536A","CONTACTOR AF260-30-11-70",null,"个",5]
[108,null,"K1920B","CONTACTOR AL 9-30-10",null,"个",2]
[109,null,"Q7","T5H 400 TMA 320A 3P COMP",null,"个",2]
[110,null,"T38","POWER SUPPLY ADC5721R 2.5A/24V",null,"个",1]
[111,null,"CT5222","CT5222 TOWER ACC 20MS SCAN",null,"个",1]
[112,null,"OVP模块","CT297",null,"个",2]
[113,null,"M204电机","ELECTRIC MOTOR 18.5kW",null,"个",1]
[114,null,"VOG模块","VOG CT279",null,"个",5]
[115,null,"欠压继电器","0000POAH36 0000POAITC",null,"个",5]
[116,null,"CT3133","CT3133 DC INPUT",null,"个",3]
[117,null,"EMC","EMC",null,"个",1]
[118,null,"斩波器","CT383",null,"个",1]
[119,null,"CT3218","CT3218",null,"个",1]
[120,null,"TRU","690V CT334 VCS-TRU",null,"个",1]
[121,null,"轴承",6300,null,"个",4]
[122,null,"刹车盘","刹车盘",null,"个",1]
[123,null,"避雷器","避雷器",null,"个",72]
[124,null,"横梁","横梁",null,"根",3]
[125,null,"逃生包","RESQ",null,"套",40]
[126,null,"网侧变频板","SKIIP3 1813 GB123+WATER COOLIN",null,"个",3]
[127,null,"转子侧变频板","SKIIP3 2413 GB123+水冷",null,"个",1]
[128,null,"法拉特偏航电机","MOTOR 1.5KW 6P HSLIP 100L LAF",null,"个",12]
[129,null,"发电机风扇电机M544","FAN LEFT 500 SPARE PART F HEATEX",null,"个",3]
[130,null,"K204","CONT. A75-30-00 50/60HZ",null,"个",2]
[131,null,"CT360 VPC POWER CONTROLLER",null,null,"个",1]
[132,null,"接触器A9L-30-10",null,null,"个",3]
[133,null,"SVG电路板",null,null,"块",4]
[134,null,"转速传感器 M30","ROTOR/VOG SENSOR BALUFF M30",null,"个",4]
[135,null,"CT217",null,null,"个",2]
[136,null,"液压站电机M204","ELECTRIC MOTOR 18.5kW",null,"个",1]
[137,null,"变压器风扇","BLOWER FOR TRAFO COOLING",null,"个",4]
[138,null,"K500接触器",null,null,"个",3]
[139,null,"CT3218","CT3218",null,"个",1]
[140,null,"CT3133","CT3133 DC INPUT",null,"个",1]
[141,null,"润滑泵（发电机油泵）","LUB LINCOLN QLS 40",null,"个",1]
[142,null,"电磁阀","SOL.VALVE SV13-12-O-0-24DGH",null,"个",3]
[143,null,"K536A接触器","CONTACTOR AF260-30-11-70",null,"个",1]
[144,null,"避雷器监测器",null,null,"个",3]
[145,null,"比例阀","CETOP10 50/25",null,"个",1]
[146,null,"CT396","CT 396 INTEGRATED TERMINAL ST",null,"个",1]
[147,null,"风速仪","WIND SENSOR.US FT702LT",null,"个",1]
[148,null,"T1054电源模块",null,null,"个",1]
[149,null,"灭火器","MFZ/ABC4",null,"个",141]
[150,null,"灭火器","MT/7",null,"个",6]
[151,null,"灭火器","MFTZ/ABC50",null,"个",1]
[152,null,"Svg驱动模块",null,null,"个",1]
[153,null,"K204",189152,null,"个",15]
[154,null,"AL9-30-10接触器",189247,null,"个",4]
[155,null,"转速传感器",114952,null,"个",5]
[156,null,"风速仪",106510,null,"个",4]
[157,null,"CT0334 TRU",51033401,null,"个",1]
[158,null,"电源模块","1606-xls",null,"个",1]
[159,null,"转速编码器",753983,null,"个",3]
[160,null,"风速仪电源模块",188451,null,"个",1]
[161,null,"CT367EMC",51036701,null,"个",4]
[162,null,"主变油温监测仪",null,null,"个",2]
[163,null,"K1920B",189243,null,"个",1]
[164,null,"24V电源模块",null,null,"个",1]
[165,null,"CT3153",51315302,null,"个",1]
[166,null,"K500","S093742",null,"个",2]
[167,null,"通讯滑环",29001599,null,"个",2]
[168,null,"比例阀",193467,null,"个",1]
[169,null,"冷却水管（短）",764303,null,"根",1]
[170,null,"发电机油脂泵",103839,null,"台",1]
[171,null,"发电机滑环",753917,null,"个",1]
[172,null,"M204电机",60120512,null,"台",2]
[173,null,"M544通风电机",46347,null,"台",11]
[174,null,"拉法特偏航电机",194074,null,"台",29]
[175,null,"ABB偏航电机",null,null,"台",4]
[176,null,"变压器风扇",104345,null,"个",6]
[177,null,"发电机轴承",null,null,"个",1]
[178,null,"547风扇",194978,null,"个",1]
[179,null,"M538",753640,null,"个",1]
[180,null,"蓄能器皮囊",null,null,"个",2]
[181,null,"ups",null,null,"套",7]
[182,null,"超声波风速仪","4.3801.01.100",null,"个",3]
[183,null,"液压站电机接触器M280","A50-30-00",null,"个",32]
[184,null,"变压器保险","170M7085（3500A、690V）",null,"个",13]
[185,null,"CCU电源模块","LPQ353",null,"个",2]
[186,null,"瓷瓶","35kV",null,"个",3]
[187,null,"齿轮箱辅助泵电机","ECS 63G 4-N1AB-2",null,"个",7]
[188,null,"发电机转速编码器","HOG 10 DN 2048 I",null,"个",6]
[189,null,"齿轮箱散热风扇电机","3～LS90S",null,"个",2]
[190,null,"塔筒照明灯","230V",null,"个",24]
[191,null,"线缆","WA79",null,"条",5]
[192,null,"联轴器","ZERO MAX",null,"个",1]
[193,null,"KTR螺栓","KTR",null,"个",16]
[194,null,"电气旋转单元","GP127965",null,"个",8]
[195,null,"发电机散热风扇电机","AMV 112MA4/2",null,"台",11]
[196,null,"打油枪",97204,null,"个",1]
[197,null,"偏航电机","1AL-112M-6",null,"个",4]
[198,null,"齿轮箱主泵电机","EFF.2/82.1%",null,"个",2]
[199,null,"万用表","17B(温度频率功能)",null,"个",4]
[200,null,"齿轮箱油管","GP118309",null,"条",15]
[201,null,"24V电源模块","CP M SNT 120W 24V 5A",null,"个",2]
[202,null,"MOXA机","EDS-309-3M-ST\\MOXA",null,"台",2]
[203,null,"变桨缸球头","FORK",null,"个",1]
[204,null,"环网柜保护装置","ST260E",null,"台",7]
[205,null,"免爬器控制箱","CF-120D",null,"台",2]
[206,null,"OGS模块","P393115",null,"个",3]
[207,null,"防坠扣","SKA 8 ST",null,"个",2]
[208,null,"偏航减速器","5713.050，0504",null,"套",4]
[209,null,"偏航减速器螺栓","M16",null,"根",60]
[210,null,"冷却液风扇电机","M3AA 090 L 2/4690V 0.3-1.5KW",null,"台",1]
[211,null,"消防管道闸阀","D240",null,"套",1]
[212,null,"发电机轴承","GP011987/1U6001JDE30",null,"套",2]
[213,null,"变频柜风扇","W2E 200 HH38-01 FAN",null,"个",6]
[214,null,"顶部控制柜风扇","PAPST 4656N FAN (PAP.M.0001)",null,"个",3]
[215,null,"母排柜风扇","W2E 200 HH38-01 FAN",null,"个",1]
[216,null,"发电机通风管道","GP112362",null,"套",1]
[217,null,"发电机集电环","GP062214",null,"个",1]
[218,null,"液压旋转单元","M80EPX2",null,"个",1]
[219,null,"电动扳手","DTW285RME/Z",null,"把",1]
[220,null,"IGBT电路板","DRIVERS DOUBLE CARD",null,"块",6]
[221,null,"二极管","BYM600A170DN2",null,"个",3]
[222,null,"场区伸缩大门",null,null,"套",1]
[223,null,"水塔",null,null,"个",2]
[224,null,"水箱液位控制器",null,null,"套",2]
[225,null,"齿轮箱散热片（电动泵）",101007,null,"套",3]
[226,null,"齿轮箱散热片（机械泵）",101006,null,"套",4]
[227,null,"变桨油缸半月板","CYLINDER HOLDER,G87GF",null,"个",80]
[228,null,"主变储油柜","HFJN-BPW-10008*2800",null,"个",1]
[229,null,"电源模块","POWER SUPPLY ADC 54 21 R",null,"个",16]
[230,null,"转速传感器","ROTOR SENSOR BALUFF M30",null,"个",3]
[231,null,"编码器","ENCODER UNIT MOUNTED",null,"个",5]
[232,null,"网测变频板","SKIIP3 1813 GB123+WATER COOLIN",null,"块",3]
[233,null,"机测变频板","SKIIP3 2413 GB123+水冷",null,"块",4]
[234,null,"VPC","CT360 VPC POWER CONTROLLER",null,"个",5]
[235,null,"电容","(V80 mk7)电容",null,"个",7]
[236,null,"K204","CONT.A75-30-00 50/60HZ",null,"个",11]
[237,null,"风速仪","WIND SENSOR.US FT702LT",null,"个",2]
[238,null,"CT383B驱动模块","CT383B",null,"个",1]
[239,null,"EMC","CABINET EMC HUB V80/V90",null,"个",4]
[240,null,"TRU","690V CT334 VCS-TRU",null,"个",2]
[241,null,"CT5223","CT5223",null,"个",1]
[242,null,"U232","24V 10A",null,"个",2]
[243,null,"CT3153","CT3153 DC OUTPUT",null,"个",2]
[244,null,"CT3133","CT3133 DC INPUT",null,"个",2]
[245,null,"CT3218","CT3218",null,"个",1]
[246,null,"K536C","K536C",null,"个",2]
[247,null,"F63","F63",null,"个",2]
[248,null,"变压器风扇","BLOWER FOR TRAFO COOLING",null,"个",1]
[249,null,"M546电机","2MW-N3G280-AK54-01",null,"个",1]
[250,null,"齿轮箱油泵","油泵",null,"个",1]
[251,null,"通讯滑环","通讯滑环",null,"个",2]
[252,null,"K1920B","CONTACTOR AL 9-30-10",null,"个",2]
[253,null,"K537","A9-30-10 230 V-",null,"个",9]
[254,null,"偏航组合电器","A9-30",null,"个",2]
[255,null,"组合电器","MOTORSTARTER 2.8 - 4.0A",null,"个",10]
[256,null,"K1939","K1939",null,"个",2]
[257,null,"K976","K976",null,"个",2]
[258,null,"安全继电器","24V 3NO 1NC",null,"个",4]
[259,null,"发电机油脂泵","LUB LINCOLN QLS 401",null,"个",3]
[260,null,"液压油泵","机械泵",null,"个",1]
[261,null,"Y250","Y250",null,"个",1]
[262,null,"发电机滑环","SLP RINGS W.BUSHING MACHINED MK7",null,"个",5]
[263,null,"LCTU","雷电传输单元",null,"个",3]
[264,null,"K500","CONT AF1250-30-11-7",null,"个",1]
[265,null,"C562","K536A:L3 C562：",null,"个",1]
[266,null,"UPS","MK7",null,"个",5]
[267,null,"绝缘子","35kV母线环氧树脂绝缘子",null,"个",24]
[268,null,"M204电机","ELECTRIC MOTOR 18.5kW",null,"个",1]
[269,null,"机舱吊车","LIFTKET HOIST 690V 50HZ",null,"个",1]
[270,null,"控制盒","CT232",null,"个",1]
[271,null,"10KV验电笔","10KV验电笔",null,"个",1]
[272,null,"110KV验电笔","110KV验电笔",null,"个",1]
[273,null,"安全带","安全带",null,"副",4]
[274,null,"M541电机","MOTOR LAFERT REPL",null,"个",1]
[275,null,"氧化锌避雷器","HY5WZ-51/134Q",null,"个",1]
[276,null,"M547电机","VENTILATION FAN 480V INCL",null,"个",1]
[277,null,"户外110KVSF6全封闭组合电器","ZF30-126",null,"台",1]
[278,null,"架空电缆","JKLGYJ 10KV 120/20",null,"米",3370]
[279,null,"架空绝缘线","JKLGYJ 10KV 185/25",null,"米",3550]
[280,null,"格力空调","KFR-35GW(35556)B3-N3",null,"台",2]
[281,null,"海尔空调","KFR-72LW/06NAC13",null,"台",2]
[282,null,"海尔空调","KFR-26GW/03GCC12",null,"台",1]
[283,null,"电动伸缩门",null,null,"个",1]
[284,null,"机舱冷却风扇","DKA-NO 3.55",null,"台",1]
[285,null,"水冷风扇","XE82  BCFL89.10.89  含电机、风扇、散热器，2/组",null,"组",2]
[286,null,"#17风机变桨驱动","YC3A150V_32AF5.5KW",null,"台",1]
[287,null,"阳光变频器网侧电抗器冷却风扇","K2E250-RA50-15",null,"个",1]
[288,null,"CPU模块","MX213",null,"个",3]
[289,null,"模拟量模块","AIO288",null,"个",3]
[290,null,"编码器接口模块","ISI222",null,"个",6]
[291,null,"温度测量模块","PTAI216",null,"个 ",1]
[292,null,"ISU风扇","RF2C-140/059 K313 SF-2056",null,"个",33]
[293,null,"变桨驱动","Mentor MP75A4R",null,"个",3]
[294,null,"变桨驱动控制板","Mentor MP75A4R",null,"块",1]
[295,null,"安全继电器","XPSAC5121 DC24V",null,"个",2]
[296,null,"叶片角度编码器","EQN 425 51227s17-E0",null,"个",2]
[297,null,"叶片转速编码器","ERN420 4096 27S12-03 (海德汉)",null,"个",3]
[298,null,"膨胀罐（蓄能器）","12L  0.8bar",null,"个",2]
[299,null,"扭缆传感器","LE2193",null,"个",1]
[300,null,"轮毂24VUPS电源","QUINT-PS/1AC/24DC/10",null,"个",1]
[301,null,"超级电容智能充电控制器","KZ3117",null,"个",4]
[302,null,"超级电容模组","DY3103 80V 21.8F",null,"个",5]
[303,null,"水冷循环泵","CFLF16-3FSWLC",null,"个",1]
[304,null,"变频器控制柜风扇","5656SU",null,"个",3]
[305,null,"SVG  IGBT模块","2MBI400U4H-170",null,"个",2]
[306,null,"LCL风扇","D2E146-AP47-79",null,"个",3]
[307,null,"偏航电机","XE82  3 HFV 90LC 6",null,"台",5]
[308,null,"偏航刹车片","XE82",null,"个",16]
[309,null,"液压站","AS-XE.V33",null,"台",1]
[310,null,"UPS","PW5115 1400I USB",null,"个",1]
[311,null,"风机交换机","EDS-408A-MM-SC",null,"个",1]
[312,null,"RTU电源适配器","3A-204DB05",null,"个",2]
[313,null,"烟雾传感器","海湾",null,"个",2]
[314,null,"手车刀闸开关状态显示仪","AB6000A",null,"个",1]
[315,null,"超声波风速仪","Ventus8371.UM",null,"个",2]
[316,null,"限位开关","Z4VH335-11Z-RVA",null,"个",1]
[317,null,"变桨轴承油脂泵","772-600-4012",null,"个",7]
[318,null,"偏航油脂泵","FKGGM-EP",null,"个",1]
[319,null,"主轴承油脂泵","772-500-0002 SKF",null,"个",1]
[320,null,"直流系统故障绝缘监察装置","WZJJ-32E",null,"个",1]
[321,null,"继电器","（95K1）",null,"个",3]
[322,null,"箱变断路器合闸线圈","ZFW42A-126/T2500-40",null,"个",1]
[323,null,"1100A直流保险","170M6549 1000V 1100A",null,"个",12]
[324,null,"700A交流保险","170M5413 690V 700A",null,"个",24]
[325,null,"100A交流保险","170M6549 1000V 100A",null,"个",6]
[326,null,"1400A交流保险","熔断器_快熔_690V_1400A_方体螺栓_S",null,"个",1]
[327,null,"2A充电保险","2A",null,"个",1]
[328,null,"蓄电池水份重组阀","grid aquagen pro max",null,"个",6]
[329,null,"功率单元控制板（SVG）","7820H175    PU120294-B36a-SVG（35）",null,"个",4]
[330,null,"箱变开关柜柜体","无",null,"个",2]
[331,null,"变频器拆机柜体铁件","无",null,"台",2]
[332,null,"变频器拆机铜排","无",null,"台",2]
[333,null,"变频器拆机电缆","无",null,"台",2]
[334,null,"办公电脑及打印机等",null,null,"批",1]
[335,null,"干式变压器","SCB10-2200kVA/35/0.66kV",null,"台",1]
[336,null,"电抗器","ALCL-45LC-7 L2",null,"台",6]
[337,null,"电流母排","纯铜",null,"Kg",630]
[338,null,"变频器框架","铁件",null,"Kg",150]
[339,null,"水冷散热器（含2台电机）","SFPF-31.4-2.25/1",null,"台",24]
[340,null,"水冷管道",null,null,"根",48]
[341,null,"0.6/1kV低压电缆","ZR-YZV22-0.6/1kV-3*240",null,"米",62]
[342,null,"干式变压器冷却风机","GFD 470/150-1050SF",null,"台",30]
[343,null,"轴流风机","250FZY6-S",null,"台",11]
[344,null,"ABB模块风扇","GZE140-pi51-42",null,"个",3]
[345,null,"塔基、箱变UPS","C1KS",null,"个",16]
[346,null,"轮毂制动缸","STZD-0090-004",null,"个",5]
[347,null,"偏航制动缸","AS125-2-PLUS",null,"个",48]
[348,null,"控制柜风扇","SK 3322 607",null,"个",23]
[349,null,"偏航电机","Y90L-6",null,"个",1]
[350,null,"气象站","Ventus8371.UM",null,"个",5]
[351,null,"干式变压器冷却风机","GFD 470/150-1050SF",null,"台",77]
[352,null,"轴流风机","250FZY6-S",null,"台",24]
[353,null,"滑环","SRW190-8",null,"个",2]
[354,null,"温控器","XHC-GB5100",null,"个",14]
[355,null,"ABB变桨驱动器","DCS800-S020075-5",null,"台",2]
[356,null,"艾默生变桨驱动器","Mentor MP75A4R",null,"台",2]
[357,null,"油脂泵","59300-2",null,"台",7]
[358,null,"均流电阻","1000W1R67J/1000W1R25J",null,"个",101]
[359,null,"阳光驱动板","2MW驱动板PCB组件(晶圆电阻型)(上板)_BP-G-000118",null,"块",9]
[360,null,"复合母排","F.D.000869",null,"块",1]
[361,null,"速度编码器","ERN420 4096 27S12-03",null,"个",3]
[362,null,"角度编码器","EQN425 512 27S17-E0",null,"个",6]
[363,null,"阳光IGBT","FF1000R171E4",null,"块",6]
[364,null,"模拟量模块","ATO288",null,"个",3]
[365,null,"变桨电机风扇","VK-132",null,"台",7]
[366,null,"速度编码器连接线","编码器至控制柜（XE82）",null,"根",2]
[367,null,"角度编码器连接线","编码器至控制柜（XE82）",null,"根",3]
[368,null,"电池柜维护开关","OT 160ET4",null,"个",7]
[369,null,"机舱冷却风扇","DKA-NO 3.55",null,"台",1]
[370,null,"变桨电机风扇","G132-T",null,"台",4]
[371,null,"箱变壁扇","FAD35-4",null,"台",3]
[372,null,"变桨驱动散热风扇","NMB-MAT",null,"个",1]
[373,null,"控制柜风扇（机舱，轮毂）","SK 3322 607",null,"个",2]
[374,null,"轴流风机","250FZY6-S，GFD470/150-1050SFTH",null,"台",13]
[375,null,"偏航电机","Y90L-6",null,"台",10]
[376,null,"速度编码器","ERN420 4096 27S12-03",null,"个",1]
[377,null,"塔基、箱变UPS","SANTAK",null,"台",4]
[378,null,"T401","JAQUET",null,"个",1]
[379,null,"模块","ISI222，AIO288",null,"个",4]
[380,null,"保护测控装置","ST280G",null,"台",1]
[381,null,"轴承油脂泵","CSP8P35-D2NS1-1M，59300-2",null,"台",2]
[382,null,"变桨电机","SZ9.8 DC PITCH MOTOR",null,"台",4]
[383,null,"分配阀","MVB10-K（一级）",null,"个",2]
[384,null,"偏航齿轮箱四级行星架","Z11LIP2V002",null,"个",1]
[385,null,"速度编码器连接线","编码器至控制柜（XE82）",null,"根",1]
[386,null,"艾默生变桨驱动器","Mentor MP75A4R",null,"台",2]
[387,null,"滑环","SRW190-8",null,"个",1]
[388,null,"阳光驱动板","2MW驱动板PCB组件(晶圆电阻型)(下板)_BP-G-000118",null,"块",3]
[389,null,"角度编码器连接线","编码器至控制柜（XE82）",null,"根",1]
[390,null,"均流电阻","1000W1R67J/1000W1R25J",null,"个",2]
[391,null,"便携式起重葫芦",300,null,"台",1]
[392,null,"T401","JAQUET",null,"个",1]
[393,null,"轮毂制动缸","STZD-0090-004",null,"套",3]
[394,null,"箱变、塔基、  UPS","Apc，SANTAK",null,"台",5]
[395,null,"模拟量、数字量模块","MX213、DIO248、PTAI216、ISI22",null,"个",5]
[396,null,"角度编码器","27S17-E0",null,"个",1]
[397,null,"控制柜风扇","4650-470       B151-42",null,"个",4]
[398,null,"干式横流风扇","GPD70/150-1050SFTH  GPDD650-200",null,"个",28]
[399,null,"电流互感器","LMZJ1-0.69",null,"个",19]
[400,null,"航空灯","GJ-313LED",null,"个",2]
[401,null,"箱变壁扇","FAD35-4",null,"个",2]
[402,null,"轴承油脂泵","XS16005  CSPSP35-D2NS1-1M",null,"台",2]
[403,null,"微机消谐装置","HZ-REC",null,"个",1]
[404,null,"偏航电机","Y90L-6",null,"台",2]
[405,null,"思源链节监控板","QPMCN-600B//",null,"个",1]
[406,null,"户外交流高压跌落式熔断器","RWII-12 额定电流100A 开断电流12.5KA 额定电压12kV",null,"个",3]
[407,null,"充电管理机","型号：DOP-B07S411,输入：DC+24V CLASS2/250mA，系列号：B07S4116W14330892",null,"个",1]
[408,null,"六氟化硫泄漏定量保护报警系统","K600+",null,"个",1]
[409,null,"速度编码器连接线","编码器至控制柜(XE82)",null,"条",2]
[410,null,"主轴承分配阀","MVB10-K",null,"个",1]
[411,null,"气象站","赛能",null,"个",1]
[412,null,"角度编码器连接线","编码器至控制柜(XE82)",null,"条",1]
[413,null,"箱变壁扇","FAD35-4",null,"个",1]
[414,null,"干式横流风扇","GPD70/150N-2500SFTH      GPDD650-200",null,"个",2]
[415,null,"变桨电机风扇","G132-T",null,"台",3]
[416,null,"ABB变频器模块散热风扇","G2E140-P151-42                AS-P151",null,"个",7]
[417,null,"角度编码器连接线","编码器至控制柜(XE82)",null,"条",1]
[418,null,"速度编码器连接线","编码器至控制柜(XE82)",null,"条",2]
[419,null,"ABB变频器熔断器","R300832",null,"个",6]
[420,null,"精密温湿度监控器","DL-2010(TH)",null,"个",2]
[421,null,"干式变压器温控仪","GB5100",null,"台",2]
[422,null,"控制柜风扇","4650-465",null,"个",3]
[423,null,"变桨电机电源线","变桨电机至控制柜(XE82)",null,"条",1]
[424,null,"ABB变桨驱动","DCS800",null,"台",6]
[425,null,"航空灯","GJ-313LED",null,"盏",1]
[426,null,"开关柜指示装置","XHC-9500",null,"个",1]
[427,null,"滑环","SC168-03/05-X01              ER-70/400 2.0G4  ",null,"个",2]
[428,null,"速度编码器","ERN420 4096 27S12-03",null,"个",1]
[429,null,"液压站","PC-135021.1",null,"台",2]
[430,null,"箱变壁扇","FAD35-4",null,"个",4]
[431,null,"干式横流风扇","GPD70/150N-2500SF",null,"个",1]
[432,null,"变桨电机风扇","G132-T",null,"台",1]
[433,null,"ABB变频器模块散热风扇","G2E140",null,"个",2]
[434,null,"角度编码器连接线","编码器至控制柜(XE82)",null,"条",1]
[435,null,"干式变压器温控仪","GB5100",null,"台",3]
[436,null,"控制柜风扇","4650-465",null,"个",3]
[437,null,"T401超速继电器","JAQUET",null,"个",1]
[438,null,"变桨电机刹车","BN14；电源24VDC；扭矩100Nm",null,"个",3]
[439,null,"机舱控制柜照明灯","PC 4155100",null,"个",7]
[440,null,"均流电阻","RXSR-I 1000W 1R67J",null,"个",1]
[441,null,"均流电阻","RXSR-I 1000W 1R25J",null,"个",1]
[442,null,"15v电源模块","倍福/ROHS/CP SNT 120W 12V 10A",null,"台",2]
[443,null,"安全继电器","XPSAC5121",null,"个",1]
[444,null,"速度编码器连接线","编码器至控制柜(XE82)",null,"条",1]
[445,null,"独立式光电烟火灾探测报警器","JTYJ-GD-2690/B",null,"个",1]
[446,null,"艾默生变桨驱动","Mentor MP75A4R",null,"台",2]
[447,null,"施耐德接触器","LC1D115004  （含触点LADN22）",null,"个",1]
[448,null,"ABB变频器熔断器","R300832",null,"个",1]
[449,null,"偏航刹车片","XE82",null,"片",24]
[450,null,"免爬器钢丝绳","免爬器：布莱斯科 规格：120056 型号：6×19W+IWRS-6mm强度1960MPa镀锌 160米 捻向右",null,"条",1]
[451,null,"角度编码器","27S17-E0",null,"个",1]
[452,null,"数字量模块","DIO248",null,"个",2]
[453,null,"速度编码器","ERN420 4096 27S12-03",null,"个",1]
[454,null,"变桨电机电源线","变桨电机至控制柜（XE93）",null,"条",1]
[455,null,"箱变、塔基、   UPS","Apc  SANTAK",null,"台",5]
[456,null,"干式横流风扇","GPD70/150-1050SFTH  GPDD650-200",null,"个",4]
[457,null,"散热风扇（ABB控制柜）","型号：5656 SU var：007 230v,50Hz 190mA 30W",null,"个",15]
[458,null,"偏航制动器（XE93）","AS125-2-PLUS",null,"个",1]
[459,null,"电网运行设备在线监测装置","THDOZ电网运行设备在线监测装置 35kV",null,"台",3]
[460,null,"电源模块","QUINT-DC-UPS/24DC/10",null,"个",2]
[461,null,"偏航刹车片","XE93",null,"片",1]
[462,null,"ABB变频器模块散热风扇","G2E140-P151-42                AS-P151",null,"台",2]
[463,null,"ABB变桨驱动散热风扇","4715MS-12T-B5A",null,"台",1]
[464,null,"超级电容智能充电控制器","KZ3117",null,"台",1]
[465,null,"阳光变频器（V3）PLC","BX5100-0000(带程序)带V3程序",null,"台",1]
[466,null,"速度编码器连接线","编码器至控制柜(XE82)",null,"条",2]
[467,null,"角度编码器连接线","编码器至控制柜(XE82)",null,"条",1]
[468,null,"深井泵","不锈钢220V Y100QJD3-1.8KW-",null,"台",1]
[469,null,"XE82液压站","AS-XE.V32",null,"台",1]
[470,null,"框架式断路器","IZM97B3-V25F",null,"台",1]
[471,null,"箱变温控器","BWDK-3208E",null,"套",1]
[472,null,"塔基UPS电源","5P 1550i",null,"台",2]
[473,null,"油脂泵","型号：59300-1",null,"台",2]
[474,null,"变桨电机散热风扇","G132-T",null,"个",2]
[475,null,"功率模块（IGBT)","型号FF1000R171E4 备件代码Q-C-0000007",null,"个",7]
[476,null,"ABB变频器熔断器","R300832",null,"个",5]
[477,null,"LED航空障碍灯","GZ-313LED",null,"个",1]
[478,null,"速度编码器","ERN420 4096 27S12-03",null,"个",1]
[479,null,"机舱控制柜照明灯","PC 4155100",null,"个",4]
[480,null,"ABB变频器电抗器散热风扇","D3G146-AH50-1",null,"个",1]
[481,null,"机舱照明灯","KE108LEDM51",null,"个",1]
[482,null,"XE82P-2000偏航电机","Y112L",null,"台",1]
[483,null,"速度编码器连接线","编码器至控制柜(XE82)",null,"条",1]
[484,null,"独立式光电烟火灾探测报警器","JTYJ-GD-2690/B",null,"个",1]
[485,null,"扭缆传感器","LE2193",null,"个",1]
[486,null,"电源模块","QUINT-DC-UPS/24DC/10",null,"台",1]
[487,null,"均流电阻","RXSR-I 1000W 1R67J",null,"个",1]
[488,null,"均流电阻","RXSR-I 1000W 1R25J",null,"个",1]
[489,null,"ABB变频器熔断器","R300832",null,"个",1]
[490,null,"变桨电机散热风扇","G132-T",null,"个",1]
[491,null,"油脂泵","59300-2",null,"台",1]
[492,null,"分配阀","MVB06-K",null,"个",1]
[493,null,"变桨电机电源线","变桨电机至控制柜（XE82）",null,"条",1]
[494,null,"快速熔断器保险丝 ","RoHS/170M6467/690V/1400A",null,"个",13]
[495,null,"箱变温控器","XHC-GB5100",null,"台",1]
[496,null,"功率模块（IGBT)","型号FF1000R171E4 备件代码Q-C-0000007",null,"个",10]
[497,null,"机侧驱动板","2MW驱动板PCB组件(晶圆电阻型)(上板)_BP-G-000118",null,"块",3]
[498,null,"网侧驱动板","2MW驱动板PCB组件(晶圆电阻型)(下板)_BP-G-000119",null,"块",2]
[499,null,"电源模块","倍福/ROHS/CP SNT 120W 12V 10A",null,"个",2]
[500,null,"吸收电容","C.M.000050",null,"个",2]
[501,null,"交流接触器","RoHS/A26D-30-10/220V",null,"个",12]
[502,null,"塔基UPS电源","5P 1550i",null,"台",1]
[503,null,"变桨驱动散热器风扇","4715MS-12T-B5A  （ABB）",null,"个",1]
[504,null,"接触器","GAE75-10,Ui=1000vDC，Ith=125A",null,"个",1]
[505,null,"接触器","AF09Z-30-01-21，24-60v50/60Hz 20-60vDC",null,"个",1]
[506,null,"继电器","线圈：CRMO24DC4L,1SVR405613R1100+底座：CR-M4LS 1SVR405651R3100+二极管",null,"个",3]
[507,null,"GIS隔离接地刀闸机构箱",null,null,"台",6]
[508,null,"超声波测风仪","EM9130-007 通讯线 含底座支撑杆（提供修改参数软件及连接线） 品牌：四川松原测控",null,"台",2]
[509,null,"交流接触器","A9D-30-10 线圈220V ABB",null,"个",7]
[510,null,"油脂泵","型号：59300-1",null,"台",1]
[511,null,"油脂泵（隆教一期主轴承）","59300-2",null,"台",1]
[512,null,"速度编码器","ERN420 4096 27S12-03",null,"个",1]
[513,null,"施耐德变频器（布莱斯科）"," 型号：ATV12HU15M2 单相220V 1.5KW",null,"台",1]
[514,null,"继电器","线圈：RSB 2A080BD+底座：RSZE 1S48M+二极管：RXMO21RB",null,"个",3]
[515,null,"继电器","线圈：RXM4AB2BD+底座：RXZE2S114M",null,"个",9]
[516,null,"THDOZ电网运行设备在线监测装置","THDOZ电网运行设备在线监测装置 35kV",null,"台",4]
[517,null,"散热风扇（ABB控制柜）","型号：5656 SU var：007 230v,50Hz 190mA 30W",null,"个",2]
[518,null,"点型复合式感烟感温火灾探测器","JTY-GOM-GST601",null,"个",1]
[519,null,"电源模块","QUINT-DC-UPS/24DC/10",null,"台",1]
[520,null,"角度编码器","EQN425 512 27S17-E0",null,"个",1]
[521,null,"PLC","BX5100-0000(带程序)带V3程序",null,"台",1]
[522,null,"UPS不间断电源","型号：C1K，1000VA2小时，",null,"台",6]
[523,null,"主控制器模块","MX213",null,"个",1]
[524,null,"抗震电接点压力表","YTNXC-100",null,"个",1]
[525,null,"模拟量模块","AIO288 ",null,"个",1]
[526,null,"电压监测继电器","CM-MPS 300~500VAC",null,"个",1]
[527,null,"开关柜手车导轨","KYN61-40.5  ",null,"块",2]
[528,null,"电磁阀","WK32GNA5-1-24VDC",null,"个",1]
[529,null,"超声波气象站 ","VENTUS 8371.umt",null,"个",1]
[530,null,"变桨驱动","Mentor MP75A4R",null,"台",1]
[531,null,"分配器","56457-0691-032 三出口",null,"个",1]
[532,null,"泄放电阻","51Ω/2KW",null,"块",1]
[533,null,"角度编码器连接线","编码器至控制柜（XE82）",null,"块",1]
[534,null,"变桨驱动散热器风扇"," 4715MS-12T-B5A-D02 50/60HZ",null,"个",5]
[535,null,"刹车片","XE82",null,"个",8]
[536,null,"LED航空障碍灯","GZ-313LED",null,"个",1]
[537,null,"轴流风机","0.75KW",null,"台",1]
[538,null,"接触器","GAE75-10,Ui=1000vDC，Ith=125A",null,"个",4]
[539,null,"空开","S203 D63NA",null,"个",1]
[540,null,"接触器","AF16Z-30-10-21",null,"个",7]
[541,null,"继电器","EMG22-RELKSR-G 24/TRN35",null,"个",3]
[542,null,"继电器","线圈：CRMO24DC4L,1SVR405613R1100+底座",null,"台",2]
[543,null,"施耐德变频器（布莱斯科）","型号：ATV12HU15M2 1.5KW",null,"块",2]
["注：上述《明细表》仅供参考。现状是这些废旧闲置物资堆放在漳州片区的隆教风电场及莆田地区的各个风电场。竞买人须到标的现场看样确认转让标的，转让标的品质和状况（包括但不限于转让标的的性质、状态、数量、重量）以现场实物为准，转让方与组织方对标的品质和状况不作保证，由竞买人自行勘查评估。成交后标的以现状移交，在移交过程中，不对转让标的进行清点、测量、称重，《明细表》仅供参考，不以《明细表》作为核对依据进行移交。"]