{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":37,"n_cols":6,"rows_kept":37,"merged":[[0,0,0,5]]}
["复明手术车车厢及设备器材清单表"]
["序号","设备名称","规格型号","生产厂家","数量","计量单位"]
[1,"手术用显微镜","OPMIVISU15OS",null,1,"台"]
[2,"手提式自动角膜弧量度仪","KM-500",null,1,"件"]
[3,"空调(含外机/主机)","科龙",null,1,"台"]
[4,"空调(含外机/主机)","科龙",null,2,"台"]
[5,"新鲜空气抽气扇","SUN",null,1,"台"]
[6,"电动出水水泵",null,null,2,"台"]
[7,"发电机","18 ESX",null,1,"台"]
[8,"防水快速插头和插座和30\n米电缆系统",null,null,1,"套"]
[9,"电动/手动遮阳帘",null,null,1,"个"]
[10,"半自动升降、收启梯",null,null,1,"个"]
[11,"发电机升降系统(含液压\n泵)",null,null,1,"套"]
[12,"不锈钢水箱",null,null,2,"个"]
[13,"转换器",null,null,1,"个"]
[14,"高温消毒炉","Runyes",null,1,"台"]
[15,"间接眼底灯",null,null,1,"件"]
[16,"不锈钢手术椅",null,null,3,"张"]
[17,"仪器手推车","双层，带抽屉",null,3,"辆"]
[18,"裂隙灯连仪器椅","YZ5J","苏州六六视觉科技\n股份有限公司",1,"件"]
[19,"加热水龙头","KA22","上海传播电器有限\n公司",2,"部"]
[20,"冰箱","美的90升","美的集团电冰箱制\n造（合肥）有限公\n司",1,"部"]
[21,"UPS 电源设备",null,null,1,"部"]
[22,"无线及有线对讲和扩音系\n统","Y-228A",null,1,"套"]
[23,"椅子",null,null,3,"张"]
[24,"灭蚊器",null,null,1,"个"]
[25,"电动/手动支腿长降系统",null,null,4,"个"]
[26,"液晶显示器",null,null,1,"个"]
[27,"DVD","M-STAR",null,1,"个"]
[28,"浮充型充电机","SANTAK","山特电子（深圳）\n有限公司",1,"个"]
[29,"蓄电池",null,null,1,"个"]
[30,"压平眼压计",null,null,1,"盒"]
[31,"检眼镜","YZ11D","苏州六六视觉科技\n股份有限公司",1,"盒"]
[32,"带状光检眼镜","YZ24","苏州六六视觉科技\n股份有限公司",1,"盒"]
[33,"眼科手术器械包","SYX20","苏州六六视觉科技\n股份有限公司",3,"盒"]
[34,"实用手术器械包","SYX8","苏州六六视觉科技\n股份有限公司",3,"盒"]
[35,"车厢厢体","高3.35米、宽\n2.50米、长11.40米",null,1,"个"]